COUNTY OF ALAMEDA

ADDENDUM No. 4

to

RFP No. 901098

### for

Regional Renewable Energy Procurement

Specification Clarification/Modification and Recap of the RFP Questions and Site Walks

## Held on November 18 – 25, 2013

This County of Alameda, General Services Agency (GSA), RFP Addendum has been electronically issued to potential bidders via e-mail. E-mail addresses used are those in the County’s Small Local Emerging Business (SLEB) Vendor Database or from other sources. If you have registered or are certified as a SLEB, please ensure that the complete and accurate e-mail address is noted and kept updated in the SLEB Vendor Database. This RFP Addendum will also be posted on the GSA Contracting Opportunities website located at http://www.acgov.org/gsa/purchasing/bid_content/ContractOpportunities.jsp.

**The following Exhibits have been revised.  Bidders must use REVISED Exhibits when submitting their bid response.  REVISED Exhibits can be found on the County website at: http://www.acgov.org/gsa_app/gsa/purchasing/bid_content/contractopportunities.jsp

(under Bid Number:  RFP# 901098)

- REVISED Exhibit B.2A (named “Exhibit B.2A – PRICING SUBMITTAL FORM – Bid Bundle L1 Final v2”)

- REVISED Exhibit C.1 Bundling Spreadsheet (named “Exhibit C.1 – Bundling Spreadsheet v2”)

Alameda County is committed to reducing environmental impacts across our entire supply chain.

If printing this document, please print only what you need, print double-sided, and use recycled-content paper.

The following Sections have been modified to read as shown below.  Changes made to the original RFP document are in bold print and highlighted, and deletions made have a strike through.

The following Exhibits are new and are attached to this Addendum:

- Exhibit H (List of Qualified Bidders)

- Exhibit I (Site Walk Attendees)

- Exhibit J (Workforce Development Conference Attendees)

  - As stated in the Notice of Qualification issued on October 29, 2013:

Please note that the attendance at the Workforce Development conference [was] mandatory.   Bidders must send a representative.  Failure to send a representative will result in reduction in the scoring for the workforce program under Evaluation Criterion D, Project Approach, Implementation Plan, and Schedule.

Page 6 of the RFP, Section I.B. (SCOPE), Item 1 (Overview of Bid Bundles), TABLE 1 – BID BUNDLES, has been revised as follows:

TABLE 1 – BID BUNDLES

| Bundle Name | Agencies per Bundle | Total Capacity of Bundle (kW) | Number of Sites per Bundle |
| --- | --- | --- | --- |
| S1 | Small Bundle: Castro Valley Sanitary District, City of Menlo Park, City of Mountain View, City of Emeryville, City of Richmond, Hayward Area Recreation and Park District | 6 | 503 | 15 |
| S2 | Small bundle: County of Alameda, City of Oakland, City of Berkeley, Alameda County Fire Department | 4 | 505 | 30 |
| M1 | Medium Bundle 1: UC Berkeley, City of Fremont, Hayward Area Recreation and Park District | 3 | 3,065 | 16 |
| M2 | Medium Bundle 2: County of Alameda, City of Oakland, Alameda County Fire Department | 3 | 2,437 | 20 |
| M3 | Medium bundle 3: Contra Costa County, Central Contra Costa Sanitary District, City of Richmond, City of Walnut Creek | 4 | 2,894 | 16 |
| M4 | Medium Bundle 4: City of Cupertino, City of Foster City, City of Menlo Park, City of Mountain View, City of Redwood City, County of San Mateo | 6 | 2,104 | 12 |
| L1 | Large Bundle: County of Alameda, County of San Mateo, UC Berkeley | 3 | 8,0717,428 | 5 4 |
| BA1 | PV Bid Alternate Bundle 1: City of Berkeley, City of Emeryville, City of Oakland, UC Berkeley | 4 | 5,407 | 70 |
| BA2 | PV Bid Alternate Bundle 2: County of Alameda | 1 | 5,000 | 1 |
| F1 | Fuel Cell: County of Alameda | 1 | 1,500 | 2 |
|  | TOTAL |  | 31,486 30,843 | 187 186 |
| T1 | Solar Thermal* | 1 | 344,000 Btu/hr | 2 |
| *Solar thermal sites are not included in the total site number since these sites are also included in the PV bundles. |

Page 9 of Exhibit B.1 (BID RESPONSE REQUIREMENTS PACKET), Item 3.(c) has been added:

(c)	Bidders must submit Exhibit B.2 (Pricing Submittal Form(s)), and Exhibit B.4 (Experience and Past Projects Form) in Excel format.

Exhibit B.2A (Pricing Submittal Form – Bid Bundle L1) has been revised as follows:

Site #16 (County of Alameda: Santa Rita Multiple Buildings, Bundle L1) has been removed from the Bid Form.

Exhibit C.1 (BUNDLING SPREADSHEET) has been revised as follows:

- Site #16 (County of Alameda: Santa Rita Multiple Buildings) has been removed.

The FTP site (ftp://alcoftp1.acgov.org) has been revised as follows (instructions for accessing the FTP site can be found in Exhibit C.5A):

- A REVISED site specification sheet has been included for Site #76 (City of Oakland’s Municipal Services Center, Bundle M2).

- A NEW site specification sheet has been included for Site #15 (County of Alameda’s Santa Rita Jail, Bundle L1).  This site specification sheet includes the elimination of one sub-site and the addition of another sub-site.

- Removal of the site specification sheet for Site #16 (County of Alameda’s Santa Rita Jail Multiple Buildings, Bundle L1).

The SFTP site (https://sftp.acgov.org) has been revised as follows (instructions for accessing the SFTP site can be found in Exhibit C.5B):

- Electrical meter photos for the City of Menlo Park – Arrillaga Family Center / Gymnasium have been added.

- Electrical meter photos for the City of Richmond – Civic Center Auditorium have been added.

- Supplemental site information regarding the County of Alameda – Hayward Landfill has been added.

Responses to Written Questions

- Are there any documents that indicate preferred locations for solar at each site? How was the recommended system capacity determined? Was it based on site consumption or the availability of space?

  - Yes, the solar site spec sheets indicate the preferred locations for solar at each site. The solar site spec sheets can be found in Exhibit C.2, and are available on the R-REP FTP site (See Exhibit C.5A for instructions on how to access the FTP Site). Capacity was based on available space and/or off-settable load, depending on site specific conditions, with the goal of maximizing financial benefits within the constraints of each site.

- The 'Installation Type' is listed out for each site and some include several types, such as, "Carport / Rooftop / Ground Mount". Does that mean there is an option as to what type to put on the site, or is a combination of all listed types necessary in order to meet the listed kW?

  - This depends on the site. Some sites require all installation types be used to reach the listed kW. Other sites allow Bidder’s to use their judgment to design a solar system using an optimal combination of installation type to achieve the best system price.

- Has the approved list of Prime Respondents for the R-REP bid been made public? How many Qualified bidders are there?

  - A total of 17 vendors were qualified to submit bids for the R-REP RFP, however one of the qualified firms has withdrawn itself from consideration. A list of the qualified firms is provided as an attachment to this addendum.

- For the Mandatory Workforce Development Conference on December 6, 2013, can the qualified subcontractor EPC firm that was designated in Exhibit A attend, or is the Prime Firm mandated to attend?

  - All qualified firms were informed in an email on December 4, 2013 that the prime contractor must send a representative from its firm to attend the workforce development conference.  Subcontractors we also invited to attend, in addition to the prime firm.

- In the Technical Proposal sections 6d and 6f.  Some sites like the Santa Rita Jail in Bundle L1 (as well as other L1 bundle sites) have multiple sub-sites (ground mount, rooftops, and carport components).  Are bidders required to submit layout and single-line diagrams for each of the sub-sites as well?

  - Bidders are required to submit proposals that provide Agencies with best value systems for each site. All proposed arrays should be included in layouts and single-line diagrams for each sub-site.

- For what length of time from RFP submission date is pricing required to be valid?

  - Per the RFP, a bid shall remain open to acceptance by the County and Participating Agencies and is irrevocable for a period of two hundred and ten (210) days.

- Exhibit C.1, column K “Recommended System Capacity (kWdc)”: are these capacities minimums/maximums or required capacities that bidders have to hit, or just recommendations? If a bidder’s analysis shows less capacity is possible, then should the bidder use their own capacity numbers in bidding a specific site?

  - These capacities are recommendations. The bidders should use their own expertise to determine the best value system sizes.

- If a bidder disagrees with the RFP given “Site Specs” (for example Azimuth Angle, “no shading” statement) should the Site Specs be used or the bidders best judgment?

  - Bidders' best judgment should be used to provide the Agencies a best value solution. For PV production modeling purposes, the PVsyst assumptions in Exhibit B.3 must be used. Assumptions that do not match on-site conditions can be corrected during contract negotiations.

- If bidder finds a fixed tilt solution more favorable than a tracker solution, can the bidder propose such modifications to the RFP request?

  - Yes, the bidder can propose such modifications to the RFP request. Please include a narrative rationale for the change in your proposal.

- Exhibit C.1, column G “PG&E Rate Schedule”, are participants amenable to changing their PG&E tariffs if a solar installation moves forward at a particular site?

  - Yes, all participating agencies are aware and amenable to rate schedule changes at their sites if the change would be financially beneficial.

- May bidders propose alternative solar production and pricing if bidder feels that the assumptions in Exhibit B.3 are non-optimal for any particular sites?

  - No. Bidders must use the assumptions in Exhibit B.3 for modeling production for use in the completion of Exhibit B.2. If the bidder feels that the assumptions are non-optimal and/or inaccurate for any particular site, the bidder may address this in the narrative. During contract negotiations, production modeling that accounts for all relevant assumptions will be expected and required.

- The parameters in Exhibit B.3 seem clearly to point to using PVsyst v6. As has been previously discussed, PVsyst v6 has some known bugs.  Please confirm that PVsyst version 5.64 and above will be accepted.

  - Yes, PVsyst v5 and above are accepted for analysis, assuming all the assumptions match, or an explanation for varying assumptions is provided. Additionally, please provide in proposal the version number that is used.

- For the L1 and BA2 bundle sites, will 1000V systems be allowed or do bidders have to design and bid for 600V?

  - 1000V systems will be allowed, but wire and other system components must include the capacity to handle 1000V. Individual agencies may have additional requirements.

- Some of the RFP given PVSyst modeling requirements don’t fit the actual site conditions (for example “Lower temperature for Absolute Voltage limit -10° C”, “Limit overload loss to 3%”). This limits our ability to optimize the design (modules per string, DC/AC sizing ratio, etc.). What is the intent for limiting the design flexibility and possibly reducing the favorable outcome of PPA rates etc.?

  - The purpose of providing modeling requirements is to standardize the process. For the purposes of production modeling, please use the assumptions specified in Exhibit B.3. If a vendor would like to propose alternative assumptions, this can be addressed in the narrative, but should not be used in running PVsyst.

- Will the bidder get a chance to revisit the design assumptions and revise production and PPA calculations once short listed or chosen for a specific site/portfolio? (Replace no shading losses with shading models, correct azimuth angles, revise number of modules per string, revise DC/AC ratio, revise total capacity and production…)

  - The final system design and assumptions may be updated once a vendor has been shortlisted or chosen for a specific site or bundle. Expected production may change, but pricing must not increase.

- On many of the sites, the energy offset recommended by the consultant assessments is quite low and variable.  There doesn’t appear to be one standard offset level targeted across the sites.  Our standard design methodology is to target a 90% power offset  to accommodate potential future decreases in usage.  Can we use this 90% offset metric in all of our designs or are we bound by the offset percentage recommended by the consultant assessments?

  - Where space is available, a target offset of 75% to 85% is preferable depending on the site’s rate tariff and load profile. However, many sites have limited space for solar. The site spec sheet for each site attempts to capture the available space for solar and corresponding approximate offset.

- The electrical industry has accepted aluminum conductors as a preferred material; the utilities use aluminum conductors exclusively.  The current aluminum conductor specifications are superior to the aluminum conductors produced in the 60s and 70s.  When today’s aluminum conductors are installed properly, they are just as reliable as their copper conductor counterparts.  Installations that use aluminum conductors will have a better ROI than the same installations using copper conductors.  Can aluminum conductors be used in the designs?

  - No. Copper conductors are required.

- The industry has evolved to using transformerless (or non-isolated) inverter technology due to the benefits this technology provides.  Some of these benefits include higher efficiencies, cooler operating temperatures, lighter units, and most importantly, safer units due to their improved ground-fault detection capability.  Will the County reconsider the galvanic isolation requirement for all inverters to allow the use of transformerless inverters?

  - Yes.  Please identify in the Exceptions portion of your proposal response that you intend to use transformerless inverters.

- Numerous studies have shown that capping the AC or DC voltage drop at 1.5% does not increase the ROI.  This is because the cost to install the larger conductors to reach these voltage drop values will not be recouped in increased generation delivered at the point of common coupling.  Can the acceptable total voltage drop be increased to 3% in DC circuits and 2.5% in AC circuits?

  - Bidders may offer a solution that has a voltage drop of greater than 1.5% provided they identify their request for relief from that specification in the Exceptions portion of their proposal. Any such requests must identify the dollar savings associated with the exclusion.  Requests for relief from technical requirements will be considered and approved at the sole discretion of the County.

- Will the participating agencies be handling all of the CEQA (California Environmental Quality Act) related assessments and filings?

  - Yes, the participating agencies will be handling all of the CEQA related assessments and filings.

- Will the participating agencies be providing geotech reports on each site, or are we to assume that we will be responsible to provide that for any site that the agencies have not already provided a geotech report?

  - If geotech reports are available they will be found on the RFP SFTP site (see Exhibit C.5B for instructions on how to access the SFTP site). In all applicable cases (i.e., ground-mounted and shade structure systems), Bidders will be responsible for conducting their own geotechnical reports to confirm existing conditions.

- Has all of the potential asbestos material been identified that may impact the installations?  Will the agencies be responsible for any asbestos abatement if it is required for the installation of any system?

  - No, all of the potential asbestos materials that may impact the installations have not necessarily been identified.  Should asbestos abatement be required, it will be addressed using the Change Order provisions in the contract.  Bidders should assume mitigation responsibility if asbestos materials are present and disturbed during the site construction process. These responsibilities and reporting requirements are described in Exhibit E.2, Cash Acquisition Terms and Conditions, 00 73 56, Hazardous Materials Procedures and Requirements.

- Some installations will be roof mounted; what assumptions should be made regarding the existing condition of the roof, specifically if it is an older roof?  Are the participating agencies planning any roofing replacement to be done in conjunction with the solar installations?  Will we be responsible for any roof penetrations if required?  What responsibility will we have relative to maintaining existing roofing warranties if penetrations need to be made in a roof still under warranty?

  - Assumptions made by bidders regarding older roofs should be highlighted in Bidders’ proposals. Those agencies planning on roof replacement have been identified in the site spec sheets (See Exhibit C.2 and instructions for accessing the ftp site in Exhibit C.5A). Bidders will be responsible for roof penetrations, as described in the specifications. Bidders are expected to maintain existing roofing warranties.

- There are many potential unforeseen issues that can arise that will render a site non-viable such as structural integrity, specific conduit runs, or underground constraints.  Additionally, once we have seen a specific site that was not included in the tour, assumptions that were made during RFP pricing phase may prove to be unrealistic and have a negative impact on our bundle pricing.  At what point will we have the opportunity to visit each site within any given bid bundle in order to confirm the sufficiency of all the sites and firm up the exact sites (with or without site shift)?

  - During the contract negotiations phase, all sites in the recommended vendor’s bundle will be available for full reviews by the recommended vendor. Scheduling for site visits during negotiations will be coordinated with the project contact for each applicable Participating Agency.

- One of the Proposing Bidder’s responsibilities is to determine technical and economic feasibility of system sites prior to contract award (Page 9 of the RFP).  At what point is this to be done since the County was very clear in Addendum 1 that we were not to visit any site other than RFP?  Are we to determine economic feasibility of a site after we have already committed to bundle pricing?

  - Use the information provided in the Exhibits to perform as much analysis as possible on existing site conditions for sites that were not scheduled for bid walks. Use the historical usage information, in conjunction with recommended installation locations and sizes, to model economic feasibility. Bidders should determine economic feasibility prior to submitting their pricing proposals.

- At what point in the process will we have access to every site in a bundle in order to determine final system configuration and finalize our pricing?

  - During the contract negotiations phase, all sites in the recommended vendor’s bundle will be available for full reviews by the recommended vendor. Scheduling for site visits will be coordinated with the project contact for each applicable Participating Agency.

- What remedy will there be if consensus cannot be reached on specific sites relative to viability and that site is mandatory to maintain and deliver the guaranteed bundle pricing?

  - Each Participating Agency will determine the viability of its own sites based upon submitted pricing and County Selection Committee Recommendations for Award. Firms submitting bundle pricing should anticipate that there may be some sites within each bundle for which unforeseen conditions or other factors exist which may result in the inability to proceed with an individual site or sites  as described.  Therefore, bundle pricing as described in Exhibit B.2 – Bid Form should anticipate +/- 10% site movement within the bundle.  Firms will be obligated to guarantee bundle pricing.

- Page 14 of Exhibit B.1 requests a detailed GANTT style schedule describing all phases of the “project” – would the County prefer to have one schedule for each project, which could become voluminous, or would the County prefer to have one Master Bundle Schedule with common tasks shown for each project as well as the tasks and durations for each individual project?

  - The County would prefer to have one Master Bundle Schedule with common tasks shown for each project, as well as the tasks and durations for each individual project.

- During the tour one of the sites had some piles of dirt that may need to be moved to place the panels.  Will the contractor be responsible for all site work related to placing the systems, especially the ground mount systems?  Will we be responsible to remove the dirt?  If so, is it certified as non-hazardous?  Will we be responsible for cut and fill on uneven sites?

  - The contractor will be responsible for all necessary site work related to placing the systems. Plans for grading and dirt removal will be jointly coordinated between the vendor and the applicable Participating Agency. Known hazardous materials have been identified in the RFP Exhibits; strategies for managing unforeseen or unforeseeable hazardous materials will be determined during contract negotiations. See question #22 for additional information on responsibilities for hazardous materials.

- On page 12 of Exhibit B.1 – Section 7 asks “how the Bidder intends to meet the County’s schedule.”  Is there a schedule with milestone completion dates, or specific completion dates that must be met for each bundle?

  - The County does not have a schedule with milestone stated in the RFP, however R-REP Participating Agencies generally expect design to commence in the summer or early fall 2014 with construction to complete as soon as practicable thereafter. Vendors are to provide a milestone completion schedule that is realistic and timely.

- Can you provide clarification on the following RFP milestone dates: Vendor Interviews (Jan 29 – Feb 5) – will these interviews be with Alameda County, individual interviews with all of the agencies, or interviews before a committee representing all of the participating agencies?  Contract Negotiations (Feb 13 – June 18) – will we be negotiating with Alameda County or the individual agencies?  County of Alameda issuance of recommendation letter (July 1, 2014) - Can you provide clarification on what this letter represents and if there will be further negotiation with participating agencies following the issuance of the recommendation letter?

  - Vendor interviews will be with the County Selection Committee, which is composed of County Staff, Staff of Participating Agencies, and other public agency employees who have expertise or experience in solar power and renewable energy systems and contracts. The County’s technical and financial consultants will also attend the vendor interviews. Vendor Interviews will be held in one location at a County of Alameda facility based upon the revised RFP schedule.

Once vendors are selected by the County Selection Committee (CSC), the County of Alameda will issue a recommendation for award for each bundle to the Participating Agencies.  Initially, the Participating Agencies will negotiate together on a bundle-by-bundle basis. After group negotiations are complete, vendors will have to carry out additional negotiations with each Participating Agency. The RFP Schedule date of August 12, 2014 -County of Alameda Board Letter, represents the estimated date on which the County of Alameda has completed contract negotiations for its own sites and intends to present the Alameda County Board of Supervisors with the CSC recommendations to proceed with the County’s projects.

- For the ground mount sites that will require CCTV cameras, can we assume that there will be space on the agencies’ servers for data storage, and that any proprietary software required to tie into the agencies’ existing security systems will be provided by that agency?

  - Though it is not possible to state if this will be the case for every site that will require CCTV cameras, when preparing proposals, assume that the data storage and necessary software will be provided by the applicable Participating Agency.

- Where will the lay-down areas be for each construction site?

  - Lay-down areas will be available at some sites, but not necessarily available at every site. Where available, lay-down areas may be identified during site reviews during contract negotiations, or during the Design/Pre-Construction planning phase.

- Will the energy usage data (demand data) be published for each site?

  - All available energy usage data is posted on the FTP site (See Exhibit C.5A for instructions on how to access the FTP Site).

- Will single lines be made available?

  - All available single-lines are posted on the SFTP site (See Exhibit C.5B for instructions on how to access the SFTP Site).

- Most of the Bundles are comprised of multiple small systems and multiple agencies/customers.  This is likely not the most efficient and cost effective way to procure solar for these agencies.  A better strategy would be for the participating municipalities to identify more efficient site locations for larger solar installations (ground mounts) and aggregate net meter the electricity under the RES-BCT program.  This would allow for the cheapest installation costs and allow the customers to target the most expensive meters for offset; thereby saving the most money and more effectively utilizing taxpayer funds.  Other than the Hayward Landfill, most of the sites do not follow this strategy.  It is understood that most of these sites were selected before the RES-BCT was available but is there the possibility for the participating municipalities to provide more appropriate sites that would allow for this?  It would result in better offers, both from a cash and PPA perspective.

  - Vendors are expected to respond to the RFP as it is currently written and with consideration to the sites that have been put forth in the RFP.

- Can the due date for bids be extended to a more reasonable date in mid-Jan?  The time and effort required to put together responsive proposals for this scale of RFP for both cash and PPA offers is considerable.  With the holiday season upon everyone, it only makes it more challenging.

  - The due date for bids has been extended to January 14, 2014. Please see Addendum No. 3 with the revised schedule for RFP No. 901098

- There are a few of the site that are not in the correct folders on the FTP site.  Should we use Exhibit C as the master list for projects assigned to certain bundles?

  - Yes, use Exhibits C.1 and C.2 to determine the bundle to which a project is assigned.

- Does our Operations & Maintenance bid need to include prevailing wage?

  - Yes. California law requires payment of prevailing wage for maintenance work let by contract.

- In addition to Exhibit E.2 Cash Acquisition Terms & Conditions, do County of Alameda and Alameda County Fire projects have any additional contract requirements in any separate files? The other entities (e.g. City of Oakland) have general and special conditions broken out separately so we want to ensure there are no additional attachments to consider.

  - The Unique Contracting Requirements and Required General Conditions for the County of Alameda and Alameda County Fire are referenced in Exhibits E.4 and E.5.

- Page 12, Section 8 (Financial Strength): the RFP calls for 3 years of financial information, preferably by links.  Since these financials would take several hundreds of pages of paper to print, please confirm that R-REP does NOT except hard copies to be submitted, just electronic copies.

  - Yes, electronic copies or links are preferable.  Printed copies are not required.

- Exhibit B.1, page 3, regarding that the bid shall be irrevocable for a period of 210 days.  This is an extended period of time within which market pricing for labor, materials, and components can highly fluctuate.  Will R-REP accept a shorter period such as 90 days, with the ability of shortlisted developers to revise pricing beyond 90 days when in contract negotiations?

  - No, a shorter period of time will not be acceptable. The bid shall be irrevocable for a period of 210 days.

- The RFQ states that the (Letter of Intent) LOI from a finance company must have successfully delivered at least three projects in the past five years. The RFP Bid Form requires 5 projects references and 3 of them must be with one of the financiers for which a letter of interest has been submitted. To confirm, does this mean that the references should include 3 projects that the finance company has successfully funded or do the 3 projects listed must  been completed by the prime and the finance company as a team? If the answer to the above question is yes, the 3 projects must be completed as a team (finance & prime); in the situation where a prime firm was prequalified,  in which 2 LOI’s were provided from finance companies where 3 projects have not been completed together as a team- would the prime firms RFP submittal be disqualified?

  - This requirement has been amended.  Please see the revised Exhibit B.4 –Experience Form v3 published in Addendum #2.

- Would the County accept a proposal from a Prime prequalified firm with a finance partner that wasn’t listed in the RFQ nor an LOI provided as long as the finance company meets the experience qualifications? Can additional financial partners from those listed in the pre-bid qualification submittal be submitted in response to the RFP?

  - Yes, it is acceptable to submit a proposal from a Prime prequalified firm with a finance partner that wasn’t listed in the RFQ nor for whom an LOI was provided as long as the finance company meets the experience qualifications, and an explanation for the change in partner described in the RFQ is provided in the narrative..

- Is the Prime prequalified firm required to use the same finance partner for all bundles?

  - No, the Prime prequalified firm is not required to use the same finance partner for all bundles.

- Are bid bonds required on a per bundle basis or are they required for each separate city/county? Are bid bonds required from only the prime firm?

  - Bid Bonds are required from only the Prime firm and they are required for each separate Participating Agency.

- Based on reviewing the individual participating agency sample contracts,  we have determined that the following cities/counties:  City of Cupertino, City of Mountain View, City of Menlo Park, City of Foster City, City of Redwood City, County of Alameda, UC Berkeley require Payment &Performance bonds. Should this cost be included in our price?

  - Yes, all costs associated with development, procurement, maintenance and installation of the projects should be included in the offered price.

- Will the 3 years of requested audited financials be kept confidential and returned after reviewed?  Can the county provide an NDA that can be executed prior to the proposal due date to ensure confidentiality of our companies financial?

  - While bid documents are subject to public records request, the vendor may reasonably mark proprietary information as confidential.

- When sizing the systems, should a utility rate switch be considered or should the system size be based off the recommended size provided coupled with available space?

  - Utility rate switches should be considered. System sizes should be based on optimal load offsets without exceeding a site’s available space.

- Please confirm the acceptance of submitting a sample PPA contract in lieu of the County of Alameda’s PPA and what, if any, impacts this may have on a Bidder.  In addition, would the County of Alameda please confirm the “Key Terms” to be included in a Bidder’s “sample PPA contract”.

  - As stated in the RFP, it is preferable for bidders to use the standard PPA document, however it is acceptable for bidders to use their own documents as long as each of the Terms and Conditions as specified in this RFP are included.  All bidders must note exceptions to the standardized terms and conditions on Exhibit B.5A in all cases.  The “key terms” are highlighted in yellow in Exhibit E.1.

- If bidders are required to bid on all projects within a bundle in order for the agencies to achieve economies of scale, are the agencies bound to award the entire bundle to a single bidder?  (It is understood that agencies have the right to eliminate or swap sites within a bundle, but bidders need to know whether their individual bid will be “cherry-picked” amongst bidders within the bundle.)

  - An entire bundle will be awarded to one vendor, however the firms submitting bundle pricing should anticipate that there may be some sites within each bundle for which unforeseen conditions  or other factors exist which may result in the inability to proceed with an individual site or sites  as described.  Furthermore, Participating Agencies reserve the right to determine whether to accept the Recommendation for Award and pricing as submitted.  Therefore, bundle pricing as described in Exhibit B.2 – Bid Form should anticipate +/- 10% site movement within the bundle.  Firms will be obligated to guarantee bundle pricing.

- Can multiple bids (i.e. different layouts or technology) be submitted for specific sites within the same bundle (clarification of page 2 of Exhibit B.1, which is page 28 of the RFP PDF)?

  - Yes, multiple bids can be submitted for specific sites within the same bundle, however vendors should submit bids with the best overall value for Participating Agencies.

- Can we bid on individual sites within BA1 without needing to bid the whole bundle? [Page 16 of the solicitation states “The Bid Alternate proposals will be evaluated on a “Best Value” and site-by-site basis.”]

  - Qualified Firms may submit a bid for none, one, or more than one of the sites listed in the BA1 bundle.

- Will our pre-qualification score be factored into the final decision?

  - Prequalification Questionnaires were not “Scored”.  Those that passed were deemed qualified and those that did not qualify did not move forward in the RFP process.

- Exhibit 7 of Exhibit E.1 PPA Template states that “The DAS shall meet all of the requirements of the California Solar Initiative (CSI) program…”  What are those requirements?  [Potential suppliers of the DAS refer to stations that meet CAISO requirements, but themselves seem not to know what CSI requirements are for the weather portion of the DAS.]

  - Please see Exhibit D.1, Section 3.5.19, for specific requirements for the DAS.

- Can DAS pyranometers be Class 2, or will they have to meet Class 1 or secondary status specifications (see ISO 9060 classifications)?

  - All DAS pyranometers must be Class 1 or secondary status rated.

- It is noted that RFP responses will be public documents.  Will that include the actual bid forms (PPA or cash acquisition values) without redaction?

  - While bid documents are subject to public records request, the vendor may reasonably mark proprietary information as confidential.

- It appears that the site overviews all presume central inverters.  Is there some prohibition to using string inverters, or is the reference to central inverters simply a design assumption by the R-REP consultant used for scoping the sites?

  - There are no prohibitions to proposing or using either string or central inverters.

- It does not appear that there is any preferred schedule or CODs for the various projects.  Will the RFP be amended to give bidders guidance as to the desired COD for each project?

  - The County does not have a schedule with milestone stated in the RFP, however R-REP Participating Agencies generally expect design to commence in the summer or early fall 2014 with construction to complete as soon as practicable thereafter. Vendors are to provide a milestone completion schedule that is realistic and timely.

- The Pricing Submittal Forms contain input fields labeled “Group PPA Discount” and “Group Purchase Discount.” These fields are not explained in the RFP document. The Pricing Submittal Form states, ”Group Pricing Discounts for PPA and Purchase are optional, but requested, for each site in bundle when bidder is able to contract +/- 10% of recommended capacity per bundle.”  What does this mean and where is it explained?

  - The bundle pricing (“Group Pricing Discounts”) is intended to reflect a discounted price given the economies of scale and reduced transaction costs associated with the collaborative procurement.  Although Participating Agencies have conducted site surveys and other due diligence, the Firms submitting bundle pricing should anticipate that there may be some sites within each bundle for which unforeseen conditions  or other factors exist which may result in the inability to proceed with an individual site or sites  as described.  Furthermore, Participating Agencies reserve the right to determine whether to accept the Recommendation for Award and pricing as submitted.  Therefore, bundle pricing as described in Exhibit B.2 – Bid Form should anticipate +/- 10% site movement within the bundle.  Firms will be obligated to guarantee bundle pricing.

- Why Plane-of-Array (POA) for the MPAs instead of Global Horizontal Irradiance (GHI)?

  - Plane-of-Array (POA) irradiance sensors are required for monitoring and commissioning in order to enable linear regression comparisons between solar generation and simultaneous available irradiance on the modules as-installed.

ALAMEDA COUNTY SITE-SPECIFIC QUESTIONS

Santa Rita Jail

- Where would the lay-down yard be?

  - The lay-down areas for the Housing Units will be in a non-inmate area located in the back of the Housing Units.

- What is the time loss expected to enter and exit the jail?

  - All vendor employees must pass a security clearance before gaining access to the site.  Once an employee has passed security clearance, access to the jail will be through a vendor’s service entrance in the back of the jail.

- What are the interconnection voltages, locations, and park limit?

  - Inverters for existing PV systems at the jail have interconnected to either 480V electric panels throughout the jail or at one of the jail’s seven substations.  The incoming electrical voltage at the substations is at 12 KV and then stepped down to 480V in the substation.

- Can a fixed tilt solution substitute the requested hillside tracker? Are there geotechnical reports available for the existing hillside solar tracking system at Santa Rita Jail?

  - Due to unforeseen complications, the hillside tracker area #5 has been removed from this site.  An equivalent sized rooftop system is available on nine Housing Unit roofs.  Three of the roofs have already had their existing PV removed and six other are candidates for replacing the existing PV.  The electrical infrastructure for the existing PV on all nine Housing Units can be reused.

- Can you provide details on the disposition of the existing fuel cell at Santa Rita?  Will it remain in place or will it be decommissioned?  Will we be responsible to decommission and removal?  If the existing fuel cell is removed, can any of the existing infrastructure be reused?  Can you provide the current make and model of the existing fuel cell?

  - The existing fuel cell is currently operating at 60% capacity and has not been reliable.  Vendors have the option of proposing a system that will generate a total capacity of 1.4 MW and decommission the existing fuel cell or supplementing the existing fuel cell with a new system, so that both systems will generate a total capacity of 1.4 MW.  If the existing fuel cell is replaced, the vendor is responsible for the removal and decommissioning of the existing fuel, and the existing infrastructure can be reused.  The existing fuel cell cogeneration plant model is a 1st generation DFC 1500, manufactured by Fuel Cell Energy.

- Is the removal of the existing solar on the housing block roofs part of the scope of the project, or will that be completed separately? At Santa Rita Jail, the existing panels are being removed from some sections. On the site visit, the panels were already gone, but the base/rack structures remain.  Will those be removed in advance of the next projects or should bidders assume some cost of removal for these remaining components? While on site it was noted that there are a number of the rooftop systems that are in poor condition. Should our proposal consider replacing any of the existing systems? Should one assume that the old solar mounting hardware will be removed prior to the start of the project or is this a cost that should be included in one’s bid?

  - Removal of any existing modules and/or backer boards on the roof of the housing units are part of the scope of the project.

- Why are the existing panels being removed from the Santa Rita Jail Housing units? How old are those panels?

  - The existing modules are over 13 years old and inefficient.  They are currently generating under 50% of expected production.

- At Santa Rita Jail, many of the roofs will need some roofing work in advance of the next solar installation.  Should bidders assume cost of repairs into their proposal or will this be accounted for by the jail outside the scope of this RFP for solar? Regarding some of the rooftops at the jail, the conditions are sub-standard to install any solar array.  Will the County replace the roofs prior to developers gaining access to the site, or does the County wish that developers include re-roofing as part of the scope of work? If so can the County provide a spec for the requirements of the re-roofing? For the purposes of evaluating and normalizing submitted proposals, please provide an allowance amount that all bidders can include in their price for reroofing being this location would require the roof to be redone before solar is installed.

  - Only roofing repairs within the footprint of the proposed array are the responsibility of the vendor.  Roofing under the existing modules is assumed to be in good condition.  Re-roofing costs are not part of the scope of the project unless otherwise noted on the site spec sheets.

- Can you clearly identify which housing units are available to build on for the purposes of this RFP and mark them clearly on a site plan?

  - A new site specification sheet County of Alameda’s Santa Rita Jail, Site ID 15, Bundle L1, including housing unit numbers, is posted on the SFTP site (see Exhibit C.5B for instructions on how to access the SFTP site).

- The site spec points out that “care should be taken not to install more generation capacity than the minimum site demand since the site is currently not set up to net meter electricity back to PG&E”. Is there a specific capacity limit at this site?

  - With the replacement of the existing inverters, the jail should be eligible for net metering.

- Please confirm that the total for all the Santa Rita Jail sites cannot exceed 2,634kW-DC.

  - The maximum site cap for generation is 5 MW, including all solar, wind, and fuel cells.  The site specification identifies locations for a maximum 1990 KW-DC system.

- Should bidders account for any fees associated with an initial background check/security clearance for the on-site crew?

  - There are no fees associated with the jail’s site security clearance process.

- Will the County consider a submittal using an alternate, but technically and financially similar approach in lieu of fuel cells?

  - The County is requesting submittal of fuel cells only, in the fuel cell bundle.

- Will Authority Having Jurisdiction permit a 1000 volt DC system to be utilized?

  - Systems utilizing 1000 volt DC system technologies are acceptable.

- During the site walk, it was represented that solar was desired not only in the firing range parking areas, but also on the range itself.  However, the site description does not show any of this area being used.  What is desired in the way of solar for this subarea of the Santa Rita Jail project?

  - The range area is not a part of the scope of work at this time.

Santa Rita Multiple Buildings

- What are the interconnection voltages, locations, and park limit?  Is area 5 to remain a functioning parking lot (i.e. requiring elevated canopies) or can it be viewed as space for a conventional ground mount solution? Area 4 consists of several small pits with high berms around them.  While flat inside, the size restricts the effective deployment of solar and the berms would cause significant shading concerns.  Is it possible that these berms could be removed to create one contiguous flat open space or are they required for vehicular access up the hill? Sites 4 and 5 are very far from the proposed point of interconnection for the power.  This makes these potentially very expensive and inefficient systems to design.  Can bidders submit a response only utilizing areas 1-3 if we can get within a reasonable margin of the target system size on site?

  - Please see the announcement on page 2 of this RFP.  Due to unforeseen complications with this site, the site has been removed from R-REP. Bidders should use the revised Exhibit B.2A -  Pricing Submittal Form (named “Exhibit B.2A - PRICING SUBMITTAL FORM - Bid Bundle L1 Final v2”) , which has been posted on the following web page under Bid Number RFP #901098

Martinelli Center

- What are the interconnection voltages, locations, and park limit? Where will the interconnection for the ground mount system be taking place?

  - Interconnection voltages for the rooftop system is at 480V.  Interconnection voltages for the ground-mounted system will be at the local utility grid voltage or lower and will be determined during the interconnection application process.

- Does the boundary provided have to be the fence line or can bidder use what we want within the parcel boundary?

  - The only known restrictions are the parcel boundaries, less the required setbacks. Bidders should propose the most optimal and feasible layout within the parcel boundary.

- How accurate is the site boundary as shown in the SFTP documents?  Can the County provide a more accurate boundary? Does the boundary provided have to be the fence line or can bidder use what we want within the parcel boundary?

  - The site boundary on the SFTP site is the most accurate information available at this time.

- Is it the County’s intent to own the community solar project?

  - This is not yet decided. The County will evaluate options for community solar at the site or development as part of PG&E’s RES-BCT program based upon the economics of the winning vendor’s proposal.

- Does the County of Alameda intend to organize and aggregate the energy customers for a community solar project or will it be the responsibility of the contractor to find subscribers for the energy?

  - The County has targeted some commercial affinity groups but in all likelihood the County would need assistance from the contractor in organizing and aggregating the energy customers for a community solar project.  The County is flexible in this regard depending on the proposal. The County has conceptualized several approaches and seeks a project from a Solar Power Development Team that would include Team members that would perform all aspects of the development through power and revenue generation including the required and desirable activities of permitting, PPA, other tasks and the formation of a community solar program and/or other program within which to operate. Overall the County would like to achieve the following goals at this site: Create a revenue stream to offset Martinelli Center and departmental management, maintenance, improvement and administrative costs; assist in reaching County goals in greenhouse gas reduction; provide a higher percentage of green power and lower cost energy alternative to those participating in the program; and create an expandable program where “subscribers” add their rooftops for solar improvements and thereby expand the program. The County seeks proposals with a range of alternatives to be provided to achieve the above program goals.

- What is the preferred interconnection tariff where the solar plant output exceeds the existing service capacity?

  - That has not been determined at this time.

- Will AHJ permit a 1000 volt DC system to be utilized?

  - Systems utilizing 1000 volt DC system technologies are acceptable.

- The ground mount area depicted in the site description appears to correlate to the actual desired location, as was discussed on the job walk.  Could a more accurate map which includes the relevant property lines and offsets needed to be maintained be provided, as well as a topo with the desired build area depicted on it?

  - The County has provided the most accurate maps available.

- How  should Bidders reflect proposals for the Martinelli Site (Ground Mount) under both RES-BCT and also under Community Solar?

  - Proposer responses to the L1 bundle are required to include a pricing and financing mechanism for “Community Solar” development at the Martinelli site. This alternative financing is separate from, and in addition to, the PPA and Cash Acquisition pricing required for the site and all other sites in the bundle in Exhibit B.2A – Pricing Submittal Form (named “Exhibit B.2A - PRICING SUBMITTAL FORM - Bid Bundle L1 Final v2”). The narrative description of the Community Solar option at this site must be submitted as part of Proposal Sub-Section 9.f. - Financing Methodologies. As required in that Sub-Section, the discussion must include indicative metrics, examples of similar successful financings, and an overview of implementation and financing considerations. All relevant assumptions must be clearly identified and explained. Bidders on the Martinelli site should also address the community solar proposal in Section 7, Description of the Proposed Project Approach.

ALCO Park

- Will AHJ permit a 1000 volt DC system to be utilized?

  - Systems utilizing 1000 volt DC system technologies are acceptable.

- What construction safety precautions will be imposed to protect street and parking lot inhabitants for the installation of the carports (netting, scaffolding, blockage of sidewalks during installation, etc…)?

  - The vendor will be required to submit a safety plan for review by the County during the design process.

JACKSON CENTER

- Will AHJ permit a 1000 volt DC system to be utilized?

  - Systems utilizing 1000 volt DC system technologies are acceptable.

- The site description says that the offered roof is concrete: “The garage roof is suitable for PV installation. The height of the roof is approximately 14 feet from the ground. The roofing material is a flat gravel floor on top of a concrete structure. Loading will not be an issue.”  Is this accurate?  [The roof, although not accessible on the tour, was walked underneath and appeared to be corrugated metal supported by metal beams, not concrete, and its ability to support load or penetrations not confirmable.]

  - A structural analysis is the responsibility of the vendor, as part of the design process.

HAYWARD (WINTON) LANDFILL

- Specification sheet mentions 5MW DC, did you mean AC, (instead of DC) because that is the limit for RES-BCT?

  - The maximum size of the system will be at RES-BCT limitation.

- Why are there three different sites in the landfill?  Why not one large solution (covering all of the land)?

  - The identified sites at the landfill were based on the existing topography of the site.

- Can the arrays be consolidated onto one?

  - It will be acceptable for a developer to consolidate the entire array onto one.

- Near section 1, will the low points be elevated (filled) to even the land?  Will low array spots be filled? There was some discussion during the job walk that the site may be graded prior to being made available to a developer. Please provide further information regarding any plans that the county has regarding grading of the site and the conditions that we should assume.  Can the County please provide more information regarding the proposed grade and any plans for developers to make assumptions on array placement? Please confirm that the site will be graded into one level site. If so, please provide site boundaries and timeframe on completion of grading.  What will the final grade be? The site description splits the areas into 3 sections.  Can earth be moved so as to provide a unified, single layout for the entire array footprint with a perimeter and inverter access road rather than the current meandering roads between the 3 proposed project areas? The site specification document mentions 20 feet of "settlement dirt".  Can the County provide more detailed information on this material and the method it was deposited and any compaction? How far down from the surface can cuts be made to provide a uniform surface for the location?

  - The solar designated areas are to be assumed in an as-is condition.  There is currently more than 20 feet of fill atop the landfill.  It is the responsibility of the developer to grade this area, as needed, for the proposed array.  All grading must conform to the Landfill’s Site Closure Plan, Grading Plan, and Storm Water Pollution Prevention plan.  These documents are posted on the SFTP site.

- Is there a recent topo of the land?

  - A topographical map is posted on the SFTP site (see Exhibit C.5B for instructions on how to access the SFTP site).

- Are the roads shown permanent?

  - There are currently no plans to change the dirt roads on the site.

- Has a settlement forecast been completed? Differential settlement anticipation?

  - There is no known settlement forecast or differential settlement anticipated.

- Is the site producing methane? Location of landfill gas operations? Need to site safe distance from.  Where is the oldest part of the landfill? Are there specific areas with inorganic waste (construction debris)? Foundation selection needs to be mindful of not creating preferential pathways for gas and leachate systems, thus changing the water balance of the landfill. What are the weight bearing capabilities not just of cap, but of leachate and gas systems? Are there any vent pipes and if so where are they located?

  - There are no known methane or landfill gas operations on the site.  It is reported that only clean fill was allowed at the landfill. Bidders will have responsibility for conducting appropriate due diligence. It will be the responsibility of the developer to conduct a geotech investigation, prior to the design of any system.

- Can unplanned maintenance be done at night?

  - There are no anticipated restrictions for unplanned maintenance.

- Is the City of Hayward or the County of Alameda Flood Plain District seen as the potential candidate for the RES-BCT system?

  - The County of Alameda, including the Flood District, will be the recipients of the power generated though PG&E’s RES-BCT tariff.

- The project description that was provided as part of the RFP shows three distinct locations that are available for this project. These locations were likely selected because they are relatively level. However, it appears that there is more land that could be available. Please provide an outline of the project boundaries.

  - Please refer to the site specification for the project boundaries. Site spec sheets can found in Exhibit C.2, and are available on the R-REP FTP site (See Exhibit C.5A for instructions on how to access the FTP Site)

- Will the County allow penetrating racking systems at this site?

  - There are no restrictions against penetrating racking system.

- It states in Exhibit C that the geotech report for the site has been requested.  When will the geotech report be ready and available for the bidders to view?  We would like to make sure there is ample time to review the geotech and prepare a proposal that meets the site criteria.  Additionally, is there a weight limit or weight concern when installing on the landfill?  We have experienced this issue on other sites.  Please confirm.

  - A geotech report has not been developed for the solar designated area.  It will be the responsibility of the developer to conduct a geotech investigation, prior to the design of any system.

- What are the interconnection voltages, locations, and park limit?

  - There is currently no electrical service to the site, although there are transmission lines nearby.

- Is there information regarding settlement history on various areas of the landfill, especially within the 3 sites designated by the County?

  - We do not have any history on settlement, but some settlement did occur during the Loma Prieta earthquake in 1989.

- Is there information regarding the landfill cap?

  - The landfill cap information is in the Capping Plan on the SFTP site (see Exhibit C.5B for instructions on how to access the SFTP site).

- Can the mounting structure be anything other than ballasted?

  - There are no mounting structure limitations for this site.

- As the site is adjacent to the San Francisco Bay, is there any information regarding environmental restrictions/concerns?

  - There are no known environmental restrictions/concerns for this site. It will be the responsibility of the developer to conduct due diligence, prior to the design of any system.

- Was the site previously a wetland and if so is there any information regarding how it has been built up?

  - The site is not, nor was it at any time, considered a wetland.

- The site specification document mentions that developers may go as deep as 10 feet without concern to place conduit.  Please also provide assumptions for developers on how far we may go down for the purpose of foundations (driven piles, etc.), and any restrictions on such penetrations.

  - There are currently no known restrictions on the depth of foundation penetrations. It will be the responsibility of the developer to conduct due diligence, prior to the design of any system.

- When will the site be ready for developers to start construction?

  - There are currently no restrictions to start construction in the designated solar areas. It will be the responsibility of the developer to conduct due diligence, prior to the design of any system.

- Will a single-axis tracking solution be acceptable to the County, or are developers instructed to stay with a fixed-tilt solution?

  - There are no restrictions on the type of ground-mounted technologies to be used at this site.

- Is there a weight limit or weight concern when installing on the landfill?  We have experienced this issue on other sites.  Please confirm.

  - The County is unaware of any weight restrictions or concerns. It will be the responsibility of the developer to conduct due diligence, prior to the design of any system.

- What is the preferred interconnection tariff where the solar plant output exceeds the existing service capacity?

  - The County facilities that will be utilizing the solar generation have ample capacity to accept the peak generation power of the system.

- Will AHJ permit a 1,000 volt DC system to be utilized?

  - There are not restrictions on the type of DC system technologies to be utilized at this site

- What is the line voltage of the two power lines adjacent to the site?

  - This information is not known at this time.

- Has the County made any interconnection applications to PG&E?  If so, when, and what’s the queue number and status?

  - The interconnection applications are the responsibility of the developer.

- Will the County take any cost and schedule risk for the proposed interconnection application?

  - No.  This is the responsibility of the developer.

- What are the required offsets from the property lines to the south and west?

  - There are no known restrictions at this time.

- Are there any restrictions as to fencing or landscape requirements for the south and west borders beyond what is in the Exhibit B?

  - There are no known restrictions at this time.

- What are the Buyer’s responsibilities as to providing security monitoring for the site?

  - Under a PPA arrangement, it is not the responsibility of the County to provide security monitoring.

- Is the Seller at risk for damage and loss due to theft and/or vandalism beyond Seller negligence?

  - Under a PPA arrangement, as the owner of the system, risk of damage and loss due to theft and/or vandalism is the Sellers.

- There were no additional files in the ftp source for this project.  Is that an oversight?  Will any be forthcoming?

  - A topographical map of the landfill, a boundary map, the Site Closure Plan are posted on the SFTP site (see Exhibit C.5B for instructions on how to access the SFTP site).

City of Cupertino Site Specific Questions

Corp Yard

- How can we route through the Loc and Storage Center?

  - With regard to service to the bridge site from the City of Cupertino Service Center, the expectation is that the routing would go within the street right-of-way and not through the storage center property, which is private property.

City of Fremont Site Specific Questions

Police Station

- Can you define "secured parking lot"?

  - “Secured parking lot” in this case means that the parking lot is fenced off from public access, and that entry is controlled by the Police Department through an electronic gate.

- The lightpoles in the parking lots will need to come down in order to put carports in. Do the concrete bases need to be removed as well or can they be left in?

  - They should be removed as per the following specifications:  remove all wire back to the panel. Put a Christy box at the location of the removed concrete base and turn the abandoned conduit up into the Christy box. In the panel on conduit feeding the lights and on the end in the Christy boxes attach a note on a metal tag that the conduit was abandoned due to elimination of the light poles to construct the carport. On both ends of the conduit, include locations where the conduit terminates.

- The carport in area 11 is not currently shown covering the handicapped parking in that area. Should that carport be extended to cover the handicapped spots?

  - Area 11 should include the handicapped parking (the entire east parking stalls on the west side of the main Police Department building).

City of Menlo Park Site Specific Questions

Family Center/Gymnasium

- Is there a recommended inverter location for this site? Site Sheets specified the parking lot next to the police station for an inverter, where is this located?

  - There are two possible locations for an inverter. One is inside the large electrical room in the gymnastics center. This room is not a conditioned space, and was viewed during the site walk. Another location is the lower parking lot of the police station, which has a couple of locations for an inverter. One being near a picnic area and the other in a covered outdoor space. Currently there is a generator in the covered location, but it will be moved next year. Photos are available on the SFTP site under the City of Menlo Park – Family Center/Gymnasium. (See Exhibit C.5B for instructions on how to access the SFTP site).

- Can you submit pictures of the electrical meters/stickers/plates in the building that we couldn't have access to because the children were sleeping in that building during our site visit?

  - The electrical panel at the modular building (which was inaccessible during the site walk) is unavailable for solar interconnection, as it connects to a different meter (library) than that which has been considered for the site, which is the administration building meter that the gymnastics center is connected to. The closest alternative point of interconnection is at a sub-panel in the Child Care Center, which is adjacent to the modular building. This panel connects to the meter in the administration building (police station) that was observed during the site walk. Photos of this electrical panel are attached.

- Will the option to remove trees from the parking lot for additional carport space be considered?

  - Not if the tree is a heritage tree, which is defined by the City to be any tree that has a trunk with a circumference of 47.1 inches (diameter of fifteen (15) inches) or more. If it is a native oak species, then the threshold is more stringent with a trunk circumference of 31.4 inches (diameter of ten (10) inches) or more. Many, if not all, of the trees at the site would be considered heritage tree size.

City of Oakland Site Specific Questions

Municipal Service Center

- Will the lights have to go down in the parking lot?

  - No, the lights cannot be removed as they are needed for area driving lighting.  The Contractor can move these lights, but must assure that the area driving lighting requirements are maintained.

- Are there any “as-builts” underground electricals?

  - A utility site plan for the MSC, dated 1970, has been uploaded into the SFTP (see Exhibit C.5B for instructions on how to access the SFTP site).  Please be advised that this utility site plan does not show other utility work beyond 1970.

- What is the tie-in point?

  - The tie-in point is the Building 911 electrical room.

- On the parking lot closest to Edgewater Drive, will this be a tandem T canopy?

  - No, the array closest to Edgewater drive is a single array.

- What is the expected height of the carports to accommodate 14’ 6” vehicles?

  - Our tallest vehicles are almost 14’ so a 14’-6” clearance for arrays 1,4,5,6 and 7 will suffice.  Arrays 2 and 3 should have a 10’-0” clearance.

- Can you provide more up to date single line drawings for the site?

  - Additional single-line drawings have been made available on the SFTP (see Exhibit C.5B for instructions on how to access the SFTP site).

- Provided drawings for MSC indicate a 480 v service on site (in addition to the 208 service) while what we saw at the 11/22 site walk was a utility meter/tie in point at a 1200 amp service at 120/208.  Does this 480 service exist and is it available for interconnection?

  - No, the 911 building primary voltage is serviced from PG&E’s 12 kilo-volt line and the transformer’s secondary voltage for the 911 building is 120/208 volts.

- Will AHJ permit a 1000 volt DC system to be utilized?

  - At this time, the permitting requirements for 1,000VDC systems are unclear. Should Bidders want to submit a 1,000VDC system, they should submit it as an additional alternative system.

Tassafaronga Recreation Center

- Based upon the site overview, these buildings appear to be three separate structures with one central distribution panel in the easternmost building; there is also discussion of subpanels in the westernmost building.  If we choose to tie directly into the main panel from the westernmost building (for example), are we to assume a raceway exists between buildings?  If not, are we to assume trenching?

  - There are two separate structures; the gym and the recreation center.  There is no raceway between these structures, so the contractor will have to trench.

City of Richmond Site Specific Questions

Civic Auditorium

- What drives the pistons?

  - The pistons at the Civic Auditorium are hydraulically driven.

- Is power fed by a generator?

  - Generator power is only used during grid outages. Generators are separated from the utility by Automatic Transfer Switches. The Auditorium has its own small generator that supplies power to emergency lights and exit lights throughout the building only (during a grid outage).

- What happens if the power goes out?

  - Generators kick on to provide power to emergency loads.

- Can you provide photos of the electrical boxes and stickers for the Memorial Auditorium and the Civic Center Plaza: main panels; main breaker; name plate; voltages and ratings; and meter?

  - Photos have been made available on the SFTP under the City of Richmond – Civic center Auditorium. (See Exhibit C.5B for instructions on how to access the SFTP site).

- Array 8 in the parking lot is split between the civic center and the dispatch center. How many kW exactly are needed for the dispatch center?

  - Please see the site spec sheet in Exhibit C.2 on the FTP site (see Exhibit C.5A for instructions on how to access the FTP site) for additional information on this site.

- Where are the underground PG&E lines located, and what voltage are they?

  - Exact locations of underground PG&E lines are unavailable at the present time, and will need to be located and marked by professional line locators prior to underground work at the site. The line voltage is 12.5 kV or higher.

Contra Costa County Site Specific Questions

Coroner and Forensics Science Center

- Are the electrical systems tied together or are they individual systems?

  - Each building has its own electrical system.

- How old are the buildings?

  - The buildings were built in the 1980's.

- Can we lose (take out) the trees?

  - Based on our site assessment locations of the parking structures, the County has anticipated some tree trimming and removal.  Tree trimming or removal will have to be reviewed on a case by case basis especially if parking structures are to be located in alternate areas to those indicated on the site assessments.

- If this (the parking lot) is to be restriped, how would we determine the array/canopy?

  - We assume the vendor/bidder would propose a re-striping plan to better suit the location and orientation of solar panels.

- Is there phone service/communication interface (for monitoring the systems)?

  - Yes. Phone/communications service is available.

- Is restriping the parking lot where array 4 and 9 are located an option? It would allow the carports to be facing south instead of east or west.

  - Yes, the County is open to re-striping the parking lot. Any re-striping would have to be approved by the County and minimally impact parking capacity.

San Mateo County Site Specific Questions

SMMC

- Will all cables be run through the wide ducting on the Clinic Building roof?

  - It is preferred that all cables be run through the wide ducting, but not required.

- Are the supports on top of the Nursing Wing for a future floor (expansion)?

A1) 	Currently, there are no plans for any expansion. It may never happen.

- How would we handle the trees in the parking lot (for the main entrance)?

A3)	It is probable we’ll remove the trees that are completely inside our parking lot.

- Can trees be removed to reduce shading in the parking lots?

A4)	It is a possibility if the tree is located completely inside the parking lot. The tress likely cannot be removed if the trees are shared with the City or belong to the City of San Mateo. (Example trees on Hacienda Street).

- For the parking lot at the southeastern edge of the property, can the trees in the middle of the parking rows be removed?

  - Yes the trees in the middle of the parking rows can be removed in the parking lot at the southeastern edge of the property.

- If deemed suitable, can we proposed solar at the parking lot to the Southside of the main hospital facility?

  - Yes. If deemed suitable, vendors can propose solar at the parking lot to the Southside of the main hospital facility.

- What are the interconnection voltages, locations, and park limit?

  - The main utility source is 12Kv and stepped down to 480 at each building. There is no limit on parking.

- Notes mention some structures only need to be 11ft while others need to be 15ft to avoid tree shading. Upon review of the sketches it doesn't appear that you are spacing the carports father apart, so there is a potential for inter-row shading that doesn't seem to be taken into account, please opine.

  - This is a preliminary observation/recommendation; during design the layout and height of carports for minimal shading will be finalized.

- There will either be shading losses on some of the roof areas under consideration or the capacity will be reduced fairly significantly. In order to take these shading losses into account correctly a site survey needs to be undertaken.  Will the bidder get a chance to revisit the design assumptions and revise production and PPA calculations once short listed or chosen for a specific site/portfolio?

  - Yes, the bidder get a chance to revisit the design assumptions and revise production and PPA calculations once short listed or chosen for a specific site/portfolio.

- Is this location subject to Office of Statewide Health Planning and Development (OSHPD)? If so, what level of OSHPD is applicable for this site?

  - Yes. There will be a Full Review.

- Will AHJ permit a 1000 volt DC system to be utilized?

  - It will be a question for the Office of Statewide Health Planning and Development.

- There are what appear to be footings for further floor expansion (upwards) for the Nursing Wing roof.  Is there any plan to indeed use these footings, and would that not preclude the use of this site for a roof top install?  Or, does the bidder have the assurance that a 20 year PPA for this site will actually run its term?

  - Currently, there are no plans for any roof expansion. It may never happen.

- The roof of the Health Services building seemed quite old and in need of repair or strengthening.  Is any such action planned? In what time frame will the HS roof be repaired?

  - No plans. The roof is 10 years old.

- Will a rooftop install on such an old building have a firm chance of running its 20 year term?

  - Yes.

- Is there any laydown point for storage of materials to be offered on the site?

  - It will depend on the size and location. Most likely it can be accommodated.

UC Berkeley Site Specific Questions

University Village

- Is 1000VDC permitted for carports or does it have to be 600VDC?

  - At this time, the permitting requirements for 1,000VDC systems are unclear. Should Bidders want to submit a 1,000VDC system, they should submit it as an additional alternative system.

- Can you provide photos of the primary meter, the name plates voltage/ratings, main breaker, sub breakers and all primary equipment?

  - No. Photos are not available for this site.

- What are the interconnection voltages, locations, and park limit?

  - Please refer to the electric plans for University Village on the SFTP site (see Exhibit C.5B for instructions on how to access the SFTP site) for potential interconnection voltages and locations. Bidders should scope the project so that there are no parking losses.

- Due to the proximity of the buildings to the east there will be some shading losses contrary to the Site Spec PDF statement.

  - Bidders' best judgment should be used to provide the Agencies a best value solution. The bidder can propose modifications to the RFP request. Please include a narrative rationale for the change in your proposal.

- There appear to be some light poles in the middle of the proposed carport areas.  Can bidder assume that these will be removed and under-lighting will be installed?

  - The University has standards for the type, quality, and the lighting levels of exterior lighting.  The University can work with the vendor to maximize the effectiveness of the carport installations while maintaining lighting requirements.  The preference will be to keep poles in place.

- Can the field in the northwest corner of the site be used for a construction laydown yard? If not, is there an alternate location for contractors to use?

  - The University will provide a construction staging area for the vendor.

- Does the construction need to be done in phases to allow sections of parking to remain open for residents?

  - The University has not yet determined the work schedule for this site, however it will work with vendor and residents to minimize impacts for both.

- Due to poor weather conditions during the job walk, clear photos of the job site and electrical equipment could not be obtained. Can the county provide bidders with pictures of the site and the electrical equipment?

  - No. Photos are not available for this site. For other details on the site, please refer to the site spec sheet in Exhibit C.2 on the R-REP FTP site (See Exhibit C.5A for instructions on how to access the FTP Site).

- Does Buyer have any special aesthetic or functional requirements (drip intercepts between modules, tube steel versus angle) for carports?

  - There will likely be aesthetic considerations for this site, however they have not yet been determined. Vendors will be expected to comply with the University’s aesthetic or functional requirements upon award.

Recreational Sport Facility

- Can you provide photos for prospective interconnection point: meter; breaker; name plate; existing breakerloads?

  - No. Photos are not available for this site. For other details on the site, please refer to the site spec sheet in Exhibit C.2 on the R-REP FTP site (See Exhibit C.5A for instructions on how to access the FTP Site).

- Where would the connection be made?

  - Electrical connection room - high voltage room, located in parking garage in south east corner.  Conduit to be run from roof to room. Vendor to provide a switch or breaker with a visible disconnect with lock out/tag out device.  This needs to be located in the same room as the main circuit breaker in the high voltage room. Solar system to be tied in downstream from the main circuit breaker. Voltage: 480/277 volts (note: this varies building by building on campus sites). 3 Phase; 4 Wire. 750 KVA transformer rating. Solar system should not generate more KW than building load (no power back to main system). Vendor to provide directional/safety signing in electric room:  instructing electricians of the two electrical systems, and how to use disconnect systems. Vendor to provide meter for solar output that connects to campus Obvius system. Additional metering information can be found in campus construction guidance documents:  http://www.cp.berkeley.edu/CDS_ucb/SR-10.pdf

- Can you provide photos of: main campus meter; panel space; interconnection voltage/wattage?

No. Photos are not available. For other details on the site, please refer to the site spec sheet in Exhibit C.2 on the R-REP FTP site (See Exhibit C.5A for instructions on how to access the FTP Site).

### EXHIBIT C

VENDOR LIST

RFP No. 901098 – R-REP

Below is the Vendor Bid List for this project consisting of vendors who have responded to RFI No. 901098, and/or been issued a copy of this RFP.  This Vendor Bid List is being provided for informational purposes.

This RFP Addendum is being issued to all vendors on the Vendor Bid List; the following revised vendor list includes contact information for each vendor attendee at the Networking/Bidders Conferences.

| RFP No. 901098 - R-REP |
| --- |
| Business Name | Contact Name | Phone | Address | City | St | Email |
| 510 Solar | Nate Blumenkrantz | 510-289-6677 | 1428 Madison Street #311 | Oakland | CA | nate@510solar.com |
| A123 Systems, LLC | Rick Johnson | 636-534-3129 | 17889 Chesterfield Airport Rd | Chesterfield, | MO | rickjohnson@a123systems.com |
| AEKO Consulting, Inc. | Gboyega Aladegbami | 510-763-2356 x13 | 1939 Harrison St, Ste 420 | Oakland, | CA | Gboyega@aeko.com |
| aItergy systems | Mickey Oros | 916-458-8567 | 140 Blue Ravine Road | Folsom | CA | mickey.oros@altergy.com |
| Alameda Electrical Distributors | Mike Snow | 707-386-5669 | 2420 Blanding Ave | Alameda, | CA | msnow@alamedaelectric.com |
| Alameda Electrical Distributors and California Service Tool | Anne Donathan | 510-566-2954 | 2420 Blanding Ave | Alameda | CA | ADonathan@alamedaelectric.com |
| Allana Buick & Bers Inc. | Tom Ball | 650-223-6737 | 990 Commercial St | Palo Alto | CA | tball@abbae.com |
| Allana Buick and Bers | Khatidga Khalfan | 650-543-5600 | 990 Commercial Street | Palo Alto | CA | marketing@abbae.com |
| Allana, Buick and Bers | Khatidja Khalfan | 650-543-5600 | 990 Commercial Street | Palo Alto | CA | bd@abbae.com |
| Alternative Energy Development Group, LLC | Chris Fraga | 610-909-8067 | The Radnor Corporate Ctr, 100 Matsonford Rd, Bldg 2, Ste 410 | Radnor | PA | cfraga@aedgonline.com |
| Alternative Energy Systems Inc. | Amber Ruz | 530-345-6980 | PO Box 9231 | Chico | CA | amber@solarenergyforlife.com |
| AMSOLAR International | Jared Quient | 760-480-7460 | 420 Stevens Ave. Suite 160 | Solana Beach | CA | jared@amsolarcorp.com |
| Apex Solar | Farrel Williams | 408 782-0706 | 6797 Croy Rd | Morgan Hill | CA | Farrel@apxsolar.com |
| ATI Architects and Engineers | Paul DiDonato | 925-648-8800 | 3860 Blackhawk Road | Danville, | CA | pdidonato@atiae.com |
| Bloom Energy Corporation | Ivor Castelino | 408-534-1098 | 1299 Orleans Drive | Sunnyvale | CA | lvor.Castelino@bloomenergy.com |
| Bloom Energy Corporation | Mike Fuss | 408-543-1608 | 1299 Orleans Drive | Sunnyvale | CA | Mike.Fuss@bloomenergy.com |
| Bloom Energy Corporation | Lana Gee | 408 5431709 | 1252 Orleans Drive | Sunnyvale | CA | lgee@bloomenergy.com |
| Bloom Energy Corporation | Pete Henderson | 408 543 1072 | 1299 Orleans Drive | Sunnyvale | CA | Peter.Henderson@bloomenergy.com |
| Bloom Energy Corporation | Ed Lieberman | 408-543-1540 | 1252 Orleans Drive | Sunnyvale | CA | elieberman@bloomenergy.com |
| Bloom Energy Corporation | Alexandra Moser | 408-543-1181 | 1299 Orleans Drive | Sunnyvale | CA | Alexandra.Moser@bloomenergy.com |
| Borrego Solar Services, Inc. | Matti Hirpa | 540-496-8744 | 360 22nd Street, Suite 600 | Oakland | CA | mhirpa@borregosolar.com |
| Borrego Solar Systems, Inc. | Jim Brennan | 510-496-8718 | 360 22nd Street, Suite 600 | Oakland | CA | dpotovsky@borregosolar.com |
| Burnham Energy, Inc. | Greg Sellers | 408-603-9660 | 4 North Second St.. Suite 625 | San Jose | CA | gsellers@burnhamenergy.com |
| California Solar Energy Industries Association | Kelsea Jones | 916-228-4567 | 1107 9th Street, Suite 820 | Sacramento | CA | kjones@calseia.org |
| California Solar Innovators Inc. | Jordan Jones | 209-596-0350 |  |  |  | jordan@californiasolarinnovators.com |
| CE2 CORPORATION | CLYDE R. Wong | 925-463-7301 | 6140 Stoneridge Mall Rd. Ste. 500+D179 | Pleasanton | CA | info@ce2corp.com |
| CED Greentech | jan Halasz | 510-352-8460 | 1906 Republic Ave. | San Leandro | CA | janh@greentechsl.com |
| CH2MHill | Heather Abrams | (510) 698-2707 |  | Oakland | CA | Heather.Abrams@ch2m.com |
| Clark Strategic Partners | Woodrow Clark | 310-858-6886 | PO Box #17975 | Beverly Hills | CA | wwclark13@gmail.com |
| CleanFocus Energy, Inc. | Philip Mickelson | 415-729-5575 | 500 Sansome St. Suite 510 | San Francisco | CA | phil@cleanfocusenergy.com |
| Complete Solar Solution | Mark Harnett | 877-299-4943 | 1065 East Hillsdale Blvd. Suite 308 | Foster City | CA | mharnett@completesolar.com |
| Coneybeare | Victoria Betancourt | 714-547-8546 | 2003 N Broadway | Santa Ana | CA | vicky@coneybeare.com |
| Constellation | Zeb Wallace | 310-248-0005 | 50 Oak Court, Suite 120 | Danville, | CA | zeb.wallace@constellation.com |
| Continental Merchandisers, Inc. | Jodie Garcia | 651-224-4000 x2012 | 273 Lafayette Road S. | St.Paul | MN | JodyG@repcmi.com |
| Cool Earth Solar, Inc. | Tony Chen | 925-454-8506 | 4659 Las Positas Rd. | Livermore | CA | tchen@coolearthsolar.com |
| Coronal Management, LLC | Jonathan Jaffrey | 855-267-6625 | 260 South Los Robles, Suite 104 | Pasadena, | CA | jdj@coronalmanagement.com |
| Corporate Translations, Inc. | Richard Gronbach | 310-376-1400 | 1300 Aviation Boulevard | Redondo Beach | CA | rwg@CorporateTranslations.com |
| Cupertino Electric Inc. | Paul Aggarwal | 408-808-8000 | 1132 North Seventh Street | San Jose | CA | Paul_Aggarwal@cei.com |
| Cupertino Electric Inc. | Janet Clark |  |  |  |  | Janet Clark@cei.com |
| Cupertino Electric Inc. | Christina Hatzistratis | 408-808-8212 | 1132 North Seventh St. | San Jose | CA | christina_hatzistratis@cei.com |
| Desert Solar Inc dba DS Energy Solutions | Jim Emery | 760-240-3888 | 19153 Town Center Dr Suite 102 | Apple Valley | CA | jim@dsenergysolutions.com |
| Direct Energy | Lance Henderson | 403-776-2178 | Suite 1200 525 8 Ave SW | Calgary | AB | Lance.Henderson@directenergy.com |
| Duggwood Enterprises, Inc. | Andrea Fullwood |  |  |  |  | duggwoodenterprises@gmail.com |
| Ecoplexus | Sasha Josephs | 415-626-1802 | 650 Townsend St. Suite 310 | San Francisco | CA | sjosephs@ecoplexus.com |
| Ecoplexus | Erik Stuebe | 415-626-1802 | 650 Townsend Street, Suite 310 | San Francisco | CA | eriks@ecoplexus.com |
| EDF Renewable Energy | Nader Jandaghi | 858-521-3581 | 4000 Executive Pkwy, Ste 100 | San Ramon | CA | nader.jandaghi@edf-re.com |
| EDF Renewable Energy | Nader Jandaghi | 858-521-3581 | 15445 Innovation Drive | San Diego | CA | nader.jandaghi@edf-re.com |
| Enernoc, Inc. | Douglas Chamberlin | 925-826-1602 | 500 Ygnacio Valley Rd.,Ste 450 | Walnut Creek | CA | dchamberlin@enernoc.com |
| Enerparc, Inc | Sandra Liu | 415-671-6203 | 4 Embarcadero Center | San Francisco | CA | s.liu@enerparc.us |
| Enfinity America Corporation | Robin Park | 424-238-4470 | 2500 Broadway, Suite F-125 | Santa Monica | CA | rpark@enfinitycorp.com |
| ergSol | Monica Weiss | 510-868-1730 | 10033 Broadway Terrace | Oakland | CA | mweiss@ergsol.com |
| ergSol, Inc. | Don Rodes | 916-496-8186 | 10333 Broadway Terrace | Oakland | CA | drodes@ergsol.com |
| Everyday Solar | Chris Sherring | 609 240 4179 | 3 Bellaire Drive | Princeton | NJ | csherring@comcast.net |
| Everyday Solar | Dr. Chris Sherring | 609-240-4179 | 3 Bellaire Drive | Princeton | NJ | csherring@comcast.net |
| Focal Point Energy | Taber Smith | 408-923-1541 | 1650 Las Plumas Ave. Suite C | San Jose | CA | taber@focalpointenergy.com |
| Focal Point Energy, Inc. | Richard Tetschlag | 408-896-6224 | 1650 Las Plumas Ave. Ste C | San Jose | CA | dick@focalpointenergy.com |
| Free Hot Water | Tor Valenza | 310-251-2763 |  |  |  | tor@freehotwater.com |
| Freehotwater Solar Therma Solutions | Paul Burrowes | 408-432-9900 | 2146 Bering Drive | San Jose | CA | paul@freehotwater.com |
| FuelCell Energy, Inc. | Pere Margalef, PhD | 949-599-8637 |  |  |  | pmargalef@fce.com |
| FuelCell Energy, Inc | Trevor Rodd | 925-303-0016 | 8 Scenic Court | Danville | CA | trodd@fce.com |
| FuelCell Energy, Inc. | Robert Keefrider | 203-830-5705 | 3 Great Pasture Road | Danbury | CT | rkeefrider@fce.com |
| FuelCell Energy, Inc. | Chris Pais | 925-979-1602 | 1150 Lincoln Avenue | Walnut Creek | CA | cpais@fce.com |
| Gen-X Energy Development LLC | Fred Brown | 510-410-4917 | 831 Longridge Road | Oakland, | CA | fred.brown@gen-xenergydevelopment.com |
| Global Energy Partners | Claire Curtin | 925-482-2000 | 500 Ygnacio Valley Rd., Suite 450 | Walnut Creek | CA | ccurtin@gepllc.com |
| Greensleeves Energy Solutions | John Scorsone | 937-286-1149 | 1995 Tiffin Ave. Suite 312 | Findlay | OH | JScorsone@greensleevesllc.com |
| Hamilton Solar LLC | Matthew Weinberger | 702-303-4446 | 8995 Terabyte Dr. | Reno, | NV, | mweinberger@hamiltonsolarusa.com |
| Hangzhou Photovoltaic Association | Carol Zhao | 571-873-82355 | Room 1101, Library Information Building C | Zhejiang University Hangzhou | Zhejiang Province | Carol.Zhao@zii-china.org |
| Hanwha Q CELLS USA | Brian Lynch | 310-750-7796 | 8001 Irvine Center Drive Suite 1250 | Irvine | CA | brian.lynch@hqamericas.com |
| Hanwha SolarOne U.S.A. Inc. | George Gisel | 760-342-8168 | 5163 Wisteria Dr, Ste 100 | Oceanside | CA | us.sales@hanwha-solarone.com |
| HelioPower | Nick Weber | 760-377-6460 | 612 Howard Street, Suite 100 | San Francisco | CA | nweber@heliopower.com |
| Honeywell Building Solutions Honeywell | Cathy Ward | 650-918-3344 | 353-A Vintage Park Drive | Foster City | CA | cathy.ward@honeywell.com |
| HT Solar Power | Lara Mendel | 303-922-7815 | 2295 S. Lipan Street | Denver | CO | lara.mendel@hwy-tech.com |
| IMS | Andy Wright | 858-490-8806 | 945 Hornblend St. Suite G | San Diego | CA | CA2@imsinfo.com |
| Independent Energy Solutions, Inc. | Lindsey Darnell | 760-752-9706 | 1090 Joshua Way | Vista, | CA | ldarnell@indenergysolutions.com |
| ISA Corporation | Anthony Zante | 510-324-3755 | 3213 Whipple Road | Union City | CA | tzante@isa-corporation.com |
| ISA Corporation | Tony Zante | 510-324-3755 | 3213 Whipple Road | Union City | CA | tzante@isa-corporation.com |
| LEAN Energy | Shawn Marshall |  |  |  |  | shawnmarshall@LEANenergyus.org |
| Lifestyle Solar Inc | Larry Hoang | 559-228-0229 | 21 E Shaw Ave | Fresno, | CA | larry@lifestylesolarinc.com |
| Linkture Corp. | Opty Fernandez | 949-589-1909 | 15 Flagstone | Trabuco Canyon | CA | opty@linkture.com |
| Marubeni Corporation | Hisafumi Manabe | -3-3282-7006 | 4-2, Ohtemachi 1-Chome | Chiyoda-KU | Tokyo | Manabe-H@marubeni.com |
| MBL & Sons, Inc. | Mark Laubach | 408-590-6160 | 954 Hampswood Way | San Jose | CA | mark@mbl-energy.com |
| McCalmont Engineering | Tom McCalmont | 408-871-9600 | 1624 Dell Avenue | Campbell, | CA | tom@mccalmont.net |
| Morrow - Meadows Corporation | Jeff Coleman | 909-594-4161 | 620 Reyes Drive | Walnut, | CA | jcoleman@morrow-meadows.com |
| MP2 Capital, LLC | Casey Keenan | 415-985-5333 | 500 Sansome St. Suite 750 | San Francisco | CA | casey@mp2capital.com |
| N2 Electric,Inc. | Nicholas McDaid | 925-447-8882 | 3589 First Street, Suite C | Livermore, | CA | n2electric@n2electric.com |
| New Energy and Industrial Technology Development Organization | Aya Iwasuji | 408-567-8033 | 3945 Freedom Cir, Ste 790 | Santa Clara | CA | aya.iwasuji@nedosv.org |
| New Energy and Industrial Technology Development Organization | Sean Kagiyama | 408-567-8033 | 3945 Freedom Circle, Suite 790 | Santa Clara | CA | sean.kagiyama@nedosv.org |
| Oak Leaf Energy Partners | Michael McCabe | 303-893-6945 | 2645 E. 2nd. Ave, Suite 206 | Denver | CO | mike@oakleafep.com |
| OHR Energy - Otto H. Rosentreter Co. | Kenneth Rosentreter | 562-946-3381 | 13039 East Florence Avenue | Santa Fe Springs | CA | ken@ohrenergy.com |
| Otto H Rosentreter Company - OHR Energy | Ken Rosentreter | 562-946-3381 | 13039 E. Florence Ave. | Santa Fe Springs |  | ken@ohrenergy.com |
| PanelClaw | Ashan Walpita | 978-688-4900 x207 | 155 Montgomery Street, Suite | San Francisco | CA | awalpita@panelclaw.com |
| Perpetual Power | Paul Townsend | 415-990-0027 | 6724 Preston Ave. | Livermore, | CA | paul@perpetualpowerllc.com |
| Photon Finance LLC | Reid Rutherford | 650-472-0026 | 2570 West El Camino Real, Suite 500 | Mountain View | CA | reid@photonhq.com |
| PHYchip Corporation | Dhaval J. Brahmbhatt | 408-561-1594 | 25, N. 14th Street, Suite 400 | San Jose | CA | dhaval@phychip.net |
| PHYchip Corporation | Dhaval J. Brahmbhatt | 408-561-1594 | 25, N. 14th Street, Suite 400 | San Jose | CA | dhaval@phychip.net |
| Pristine Sun | Kevin White | 650-387-7261 | 649 Mission Street, 5th Floor | San Francisco | CA | kevin.white@pristinesun.com |
| Prologis | Blake Kelley | 909-673-8725 909-673-8700 | 2817 E. Cedar St. Suite 200 | Ontario | CA | bkelley@prologis.com |
| Pure Power Solutions | Rebecca Lipski | 707-433-6556 | 1083 Vine Street #279 | Healdsburg, | CA | rebecca@purepowersolutions.com |
| Quality Transformer and Electronics, Inc. | James Nealon | 408-263-8444 | 963 Ames Avenue | Milpitas | CA | James.Nealon@QTE.com |
| Quantum Energy Services & Technologies, Inc. | Marc McDonald | 510-540-7200 | 2001 Addison St, Ste 300 | Berkeley | CA | mmcdonald@quest-world.com |
| Raycon Industries, Inc | David Chang | 408-467-1101 | 2010 Hartog Drive | San Jose | CA | davidc@raycon.com |
| REC Solar Inc. | Ben Peters | 805-704-5190 | 775 Fiero Lane Ste. 200 | San Luis Obispo | CA | bpeters@recsolar.com |
| Red Dipper, LLC | Doug Parrish | 510-746-6041 | 1008 Webster Street | San Francisco | CA | doug@reddipper.com |
| Red Top Electric | Michael Curran | 925 667-2900 | 6751 Southfront Road | Livermore, | CA | mike@teamredtop.com |
| Regeneration Finance | Nick Stoker |  |  |  |  | Nick.Stoker@regenerationfinance.com wshippee@regenerationfinance.com |
| Regeneration Finance |  |  |  |  |  | Nick.Stoker@regenerationfinance.com |
| Regeneration Finance |  |  |  |  |  | wshippee@regenerationfinance.com |
| ReneSola | Haris Anjum | 415-852-7421 | 301 Howard St., Ste. 850 | San Francisco | CA | haris.anjum@renesola.com |
| Renewable Social Benefit Funds, L3C |  |  |  |  |  | jdj@rsbfunds.com |
| Renewable Social Benefit Funds, L3C A Panasonic Eco Solutions North America Partner |  |  |  |  |  | jdj@rsbfunds.com |
| RGS Energy | Eric Yamami | 415-295-4951 |  |  |  | eric.yamami@realgoods.com |
| Robert L. Brown Construction, Inc. | David Brown | 925-228-4944 | 4878 Sunrise Drive | Martinez, | CA | dbrown@rlbci.com |
| Safari Energy, LLC | Jessica Elengical | 212-935-2500 | 989 6th. Ave, 5th floor | New York | NY | jelengical@safarienergy.com |
| SAGE | Tom Williard | 650-592-7243 | BE1519 Solana Drive. | Belmont | CA | tom@sagerenew.com |
| Siemens | Kelly Fergusson | (510) 731-3069 | 25821 Industrial Blvd, Ste 300 | Hayward | CA | kelly.fergusson@siemens.com |
| Siemens Industry, Inc. | Scott Meinzen | 510-305-0967 | 25821 Industrial Blvd. #300 | Hayward, | CA | scott.meinzen@siemens.com |
| Skyline Innovations | Grant Manning | 202-719-5297 | 411 S.Hewitt St. | Los Angeles | CA | gmanning@skylineinnovations.com |
| Skyline Innovations, Inc. | Sandra Lee | 925-270-7634 | 411 S Hewitt St | Los Angeles | CA | slee@skylineinnovations.com |
| Smart Energy Capital, LLC | Christina Stanton | 914-269-8023 |  |  |  | christina@smartenergycapital.com |
| smith and sons electric | david smith | 510-651-4994 | 44081 Grimmer Blvd | Fremont, | Ca | djsmith@smithandsonselectric.com |
| SoCore Energy | Rob Federighi | 773-913-4401 | 225 W Hubbard St, Ste 302 | Chicago | IL | rfederighi@socoreenergy.com |
| SoCore Energy | Stephen Kelley | 650-740-3320 | 1037 Alameda De las Pulgas | Belmont, | CA | skelley@socoreenergy.com |
| Solar Frontier Americas, Inc. | Ravi Menon | 408-206-4152 | 3945 Freedom Cir, Ste 360 | Santa Clara | CA | Ravi.Menon@solar-frontier.com |
| Solar Tech | Marianne Walpert | 408-943-7061 | 3081 Zanker Road | San Jose | CA | mwalpert@solartech.org |
| SolarBOS, Inc. | Sean Thai | 925-456-7744 | 310 Stealth Court | Livermore, | CA | sean@solarbos.com |
| SolarCity | Shouvik Banerjee | 650-963-5874 |  |  |  | sbanerjee@solarcity.com |
| SolarCity | Anastasia Beckett | 650-918-9778 | 3055 Clearview Way | San Mateo | CA | abeckett@solarcity.com |
| SolarCity | Jennifer Jachym | 415-373-4504 |  |  |  | jjachym@solarcity.com |
| SolarCity | Andrew Lutkus | 925-785-7567 |  |  |  | alutkus@solarcity.com |
| SolarCraft Services, Inc. | Bill Stewart | 415-382-7717 | 285-d Bel Marin Keys Blvd | Novato, | CA | bstewart@solarcraft.com |
| Solaria Corporation | David Hochschild | 510-270-2531 | 6200 Paseo Padre Parkway | Fremont | CA | dhochschild@solaria.com |
| Solar-Klean | Phillip D. Green | 650-539-4718 | 210 S. Ellsworth ave. #667 | San Mateo | CA | pgreen@solar-klean.com |
| SolarVision Co | Andy Skumanich | 408-377-0545 | 412 Los Gatos Almaden Rd. | Los Gatos | CA | askumanich@solarvisionco.com |
| SolarWorld Americas LLC | Carol A Smith | 805-388-6279 | 4650 Adohrs Lane | Camarillo | CA | carol.smith@solarworldusa.com |
| SolEd Benefit Corporation | David Kunhardt | 415-322-0644 | 30 Castro Ave. | San Rafael | CA | david@sol-ed.com |
| Sprig Electric | James Conlow | 408-298-3134 X308 | 1860 S. 1011 Street | San Jose | CA | jconlow@sprigelectric.com |
| Sprig Electric | Tony Sarti | 408-298-3134 X208 | 1860 S. 1011 Street | San Jose | CA | tsarti@sprigelectric.com |
| state energy office, nc | Bob Leker | 919-733-1907 |  |  |  | bleker@nccommerce.com |
| Sun Light and Power | Patch Garcia | 510 845 2997 x127 | 1035 Folger Avenue | Berkeley, | CA | patch@sunlightandpower.com |
| Sundial-Western | Jon Kramer | 240-463-3688 | 518 Walnut St | Pacific Grove | CA | jk2surf@aol.com |
| SunEdison | Sam Youneszadeh | 949-892-7594 | 600 Clipper Drive | Belmont | CA | syouneszadeh@sunedison.com |
| Sunpods Inc | Dan Jaeger | 408-464-5899 | 1922 The Alameda suite 104 | San Jose | CA | djaeger@sunpods.com |
| SunPower Corporation | Bill Kelly | 510-260-8203 | 1414 Harbour Way South | Richmond | CA | bill.kelly@sunpowercorp.com |
| SunPower Corporation | Bobby Ram | 408-240-5519 | 3939 N. 1 st Street | San Jose | CA | bobby.ram@sunpowercorp.com |
| SunPower Corporation | Beberly Velasquez | 510-260-8384 | 1414 Harbour Way South | Richmond, | CA | beberly.velasquez@sunpowercorp.com |
| SunPower Corporation, Systems | Kevin Gardiner | 510-439-4609 | 1414 Harbour Way South | Richmond | CA | kevin.gardiner@sunpowercorp.com |
| SunSpec Alliance | John Nunneley | 831-334-5567 | 225 Nelson Rd | Scotts Valley | CA | John@SunSpec.org |
| Suntrek Industries Inc. | Janelle Clark | 949-348-9276 | 5 Holland Dr. Suite #215 | Irvine | CA | jclark@suntreksolar.com |
| Suntrek Industries Inc. | David W. Haskell | 415-342-8123 | 25 Glen Drive Suite 1 | Fairfax | CA | dhaskell@suntreksolar.com |
| Suntrek Industries Inc. | Phil Negro | 949-348-9276 | 2021 Las Positas Ct. | Livermore | CA | phil@suntreksolar.com |
| SunWize Technologies, Inc. | Colelene Clark | 408-510-5073 | 111 West Saint John St., Suite 1200 | San Jose | CA | cclark@sunwize.com |
| Sustainable Technologies | Ernesto Montenero | 510-523-1122 | 1800 Orion Street Suite #101 | Alameda | CA | ernesto@sustainabletech.cc |
| Swanrock DBA Skytech Solar | Colin Swan | 415-826-2503 | 1501 Mariposa St Suite 319 | San Francisco | CA | info@skytechsolar.com |
| Synapse Electric | Coleen Curry | 415-819-0692 | 280 Pacific Way | Muir Beach | CA | coleen@synapseelectric.com |
| Tetra Tech, Inc. | Daniel Jordan | 609-58-6283 | 3475 East Foothill Boulevard, | Pasadena | CA | daniel.jordan@tetratech.com |
| The Dow Chemical Company | Jim Perteet | 408-391-1682 |  |  |  | JPerteet@dow.com |
| The Solar Company | John Bernal | 916-384-9053 |  |  |  | john@thesolarco.com |
| The Solar Company, Inc. | Steve Aphugh | 925-206-3170 | 20861 Wilbeam Ave. | Castro Valley | CA | steve@thesolarco.com |
| Tioga Energy | Andy Sinnott | 916-983-2276 | 2755 Campus Drive, Suite 145 | San Mateo | CA | asinnott@tiogaenergy.com |
| TRA Environmental Sciences, Inc. | Taylor Peterson | 650-400-5767 | 545 Middlefield Rd, Ste 200 | Menlo Park | CA | peterson@traenviro.com |
| Unirac, Inc. | Greg Barnes | 505-242-6411 | 1411 Broadway Blvd NE | Albuquerque | NM | gregb@unirac.com |
| UTC Power Corporation | Mark Carmichael | 860-727-2022 | 195 Governor's Highway | South Windsor | CT | Mark.Carmichael@utcpower.com |
| UTC Power Corporation | Neal Montany | 860-727-2152 | 195 Governor's Highway | South Windsor | CT | Neal.Montany@UTCPower.com |
| Vanir Construction Management, Inc. | Terri Cruz | (510) 663-1800 | 1000 Broadway, Ste 475 | Oakland | CA | teri.cruz@vanir.com |
| Vanir Construction management, Inc. | Robert Flory | (510) 663-1800 | 1000 Broadway, Ste 475 | Oakland | CA | robert.flory@vanir.com |
| Veteran Solar Inc. | Ray Piontek | 650 969-2100 | 1061 Seena Avenue | Los Altos | CA | Ray@VeteranSolarInc.Com |
| Vista Solar | Jaymes Callinan | 408-844-7199 | 2985 Kife Road | Santa Clara | CA | jaymes@vista-solar.com |
| Vista Solar | Patrick Callinan | 408-844-7149 | 2985 Kifer Road | Santa Clara | CA | contactus@vista-solar.com |
| Vista Solar | Mark Frederick | 408-844-7140 | 2985 Kifer Road | Santa Clara | CA | markf@vista-solar.com |
|  | LJ Junior |  |  |  |  | ljjunior144@gmail.com |
|  | smita khoot | 510-406-4112 | 10 south 3rd St, 5th Floor | San Jose | CA | smita@directnuenergy.com |

### EXHIBIT H

Participating Qualified Vendors LIST

RFP No. 901098 – Regional Renewable Energy Procurement

Below is the Qualified Vendors List for this project consisting of vendors who have been pre-qualified to respond to RFP No. 901098.  This Participating Qualified Vendors List is being provided for informational purposes.

| 901098 R-REP Participating Qualified Vendors List |
| --- |
| Prime Firm Name | Prime Location | Email |
| Albion Power Company, Inc. | Fremont, CA | mary@albionpower.com |
| AMSOLAR, LLC | Solana Beach, CA | jam@amsolarcorp.com |
| Borrego Solar Systems, Inc. | Oakland, CA | kkearney@borregosolar.com |
| Cool Earth Solar, Inc. | Livermore, CA | tchen@coolearthsolar.com |
| Cupertino Electric, Inc. | San Jose, CA | Paul_Aggarwal@cei.com |
| Ecoplexus, Inc. | San Francisco, CA | epaul@ecoplexus.com |
| EDF Renewable Energy, Inc. | San Ramon, CA | nader.jandaghi@edf-re.com |
| Gehrlicher Solar, a Company of the M+W Group (GSAC) | Alameda, California | Katie.Black@mwgroup.net |
| Gestamp Asetym Solar North America ("GASNA" or "Gestamp Solar") on behalf of LLC | San Francisco, CA | edgar.arvizu@gestampren.com |
| REC Solar, Inc. | San Luis Obispo, CA | rpark@recsolar.com |
| SolarCity Corporation | San Mateo, CA | abeckett@solarcity.com |
| SOLON CORPORATION | San Francisco, CA | felicia.bellows@solon.com |
| SunEdison Government Solutions, LLC | Belmont, CA | pgiese@sunedison.com |
| SunPower Corporation, Systems | Richmond CA | bob.redlinger@sunpowercorp.com |
| Tecta Solar, a Division of Tecta America Corp. | Fort Washington, PA | rrabe@tectaamerica.com |
| Vanir Construction Management, Inc. | Oakland, CA | robert.flory@vanir.com |

### EXHIBIT I

Site walk attendees

Below is the Site Walk Attendees List for this project consisting of people whom attended the site walks for RFP No. 901098.  This Site Walk Attendees List is being provided for informational purposes.

| R-REP - Santa Rita Jail/Santa Rita Jail Multiple Sites |
| --- |
| Business Name | Contact Name | Email |
| Cupertino Electric | Jerry Ashley | jerry_ashley@cei.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| Ecoplexus | Jeremy Berke | jberke@ecoplexus.com |
| Gehrlicher/M&W Group | Katie Black | Katie.Black@mwgroup.net |
| M Bar C Construction | Bobby Bonfanti | BobbyB@Mbarconline.com |
| Shanks Electric | Shanna Shanks | sshank@shankscorp.com |
| Shanks Electric | Forrest Shanks | shankscorp@shankscorp.com |
| SunEdison | Pete Giese | pgiese@sunedisom.com |
| SunEdison | Raam Perumal | rperumal2@sunedison.com |
| SunPower | Taylor Davis | taylor.davis@sunpower.com |
| Borrego Solar | Kyle Kearney | kkearney@borregosolar.com |
| Borrego Solar | Tarn Yates | tyates@borregosolar.com |
| Vanir | Mike Koski | mike.koski@vanir.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Cool Earth Solar | Jake Rudisill | jrudisill@coolearthsolar.com |
| Alta M Energy | Jeff Hintzkie | jhintzke@altaenergyinc.com |
| Cool Earth Solar | Peter O'Brien | pobrien@coolearthsolar.com |
| Cool Earth Solar | Tony Chen | tchen@coolearthsolar.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| Gestamp | Robin Anliker | robin.anliker@gestampren.com |
| D.C. Taylor Co | Michael O'Bryant | michael.obryant@dctaylor.com |
| MBL Energy | Jay Kirby | Jay@MBL-energy.com |
| SolarCity | Jen Jachym | jjachym@solarcity.com |
| SolarCity | Brad Detjen | bdetjen@solarcity.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| McCalmont Eng. | Charlie Dearie | charlie.dearie@mccalmont.net |
| EDF RE | Vince Gibbs | vince.gibbs@edf-re.com |
| EDF RE | Phil Hawtin | phil.hawtin@edf-re.com |
| R-REP - Alameda County Martinelli Event Center |
| Business Name | Contact Name | Email |
| Shanks Electric | Shanna Shanks | sshank@shankscorp.com |
| Alta M Energy | Jeff Hintzkie | jhintzke@altaenergyinc.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Vanir | Mike Koski | mike.koski@vanir.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| SolarCity | Jen Jachym | jjachym@solarcity.com |
| SolarCity | Brad Detjen | bdetjen@solarcity.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| EDF RE | Phil Hawtin | phil.hawtin@edf-re.com |
| EDF RE | Vince Gibbs | vince.gibbs@edf-re.com |
| Cupertino Electric | Jerry Ashley | jerry_ashley@cei.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| Ecoplexus | Jeremy Berke | jberke@ecoplexus.com |
| Gehrlicher/M&W Group | Katie Black | Katie.Black@mwgroup.net |
| MBL Energy | Jay Kirby | Jay@MBL-energy.com |
| Gestamp | Robin Anliker | robin.anliker@gestampren.com |
| SunPower | Bob Redlinger | bob.redlinger@sunpowercorp.com |
| McCalmont Eng. | Charlie Dearie | charlie.dearie@mccalmont.net |
| Shanks Electric | Forrest Shanks | shankscorp@shankscorp.com |
| Albion Power Company | Charles Adams | cadams@albionpower.com |
| R-REP - City of Cupertino |
| Business Name | Contact Name | Email |
| CupertinoElectric | Mark Lahlouh | Mark_Lahlouh@cei.com |
| SolarCity | Anastasia Beckett | abeckett@solarcity.com |
| Sprig Electric | Mike Clifton | mclifton@sprigelectric.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Vanir | Mike Koski | mike.koski@vanir.com |
| Vanir | Thom Blach | thomas.blach@vanir.com |
| SunLight and Power | Jeff Barboni | jbarboni@sunlightandpower.com |
| McCalmont Eng. | Aaron McCalmont | aaron@mccalmont.net |
| R-REP - Menlo Park |
| Business Name | Contact Name | Email |
| SolarCity | Anastasia Beckett | abeckett@solarcity.com |
| CupertinoElectric | Mark Lahlouh | Mark_Lahlouh@cei.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Vanir | Mike Koski | mike.koski@vanir.com |
| Vanir | Thom Blach | thomas.blach@vanir.com |
| McCalmont Eng. | Aaron McCalmont | aaron@mccalmont.net |
| Sprig Electric | Mike Clifton | mclifton@sprigelectric.com |
| SunLight and Power | Jeff Barboni | jbarboni@sunlightandpower.com |
| R-REP - Fremont Police Station |
| Business Name | Contact Name | Email |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| MBL & Sons, Inc | Mark Laubach | mark@MBL-energy.com |
| Gehrlicher/M&W Group | Katie Black | Katie.Black@mwgroup.net |
| Shanks Electric | Shanna Shanks | sshank@shankscorp.com |
| Shanks Electric | Forrest Shanks | shankscorp@shankscorp.com |
| Sunlight and Power | J. Milliman | jmilliman@sunlightandpower.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| Vanir | Mike Koski | mike.koski@vanir.com |
| Vanir | Thom Blach | thomas.blach@vanir.com |
| SolarCity | Anastasia Beckett | abeckett@solarcity.com |
| SLP/Gestamp | Jesse Quay | jesse@sunlightandpower.com |
| McCalmont Eng. | Aaron McCalmont | aaron@mccalmont.net |
| Borrego Solar | Kyle Kearney | kkearney@borregosolar.com |
| Borrego Solar | Tarn Yates | tyates@borregosolar.com |
| R-REP - Richmond Park |
| Business Name | Contact Name | Email |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Vanir | Thom Blach | thomas.blach@vanir.com |
| R-REP - RSF |
| Business Name | Contact Name | Email |
| Gehrlicher Solar | Ron Perina | ron.perina@mwgroup.net |
| MBL Energy | Chris Beck | chris@MBL-energy.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| SLP/Gestamp | Jesse Quay | jesse@sunlightandpower.com |
| R-REP - Civic Center Ave. |
| Business Name | Contact Name | Email |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| BCE | Marc A. Davis | mdavis@barnumcelillo.com |
| R-REP - Sheriff's Center |
| Business Name | Contact Name | Email |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| D.C. Taylor Co | Michael O'Bryant | michael.obryant@dctaylor.com |
| BCE | Marc A. Davis | mdavis@barnumcelillo.com |
| R-REP - Juvenile Hall |
| Business Name | Contact Name | Email |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| R-REP - Oakland Municipal Center |
| Business Name | Contact Name | Email |
| Albion Power Company | Charles Adams | cadams@albionpower.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Vanir | Thom Blach | thomas.blach@vanir.com |
| Albion Power Company | Howard Kahn | solar@albionpower.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| Absolute Power | Mark Shervin | 916-919-02758 |
| Ward Fielding | Westtel Const. | 707-761-6808 |
| Cool Earth Solar | Tony Chen | tchen@coolearthsolar.com |
| Cool Earth Solar | Jake Rudisill | jrudisill@coolearthsolar.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| Westco Roofing Co. Inc. | Andrew Goddard | andy@westcoroofing.com |
| R-REP - SMMC |
| Business Name | Contact Name | Email |
| Cool Earth Solar | Jake Rudisill | jrudisill@coolearthsolar.com |
| MBL- Energy | Nick Sindle | nick@MBL-Energy.com |
| Gehrlicher Solar | Ron Perina | ron.perina@mwgroup.net |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| Cool Earth Solar | Tony Chen | tchen@coolearthsolar.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Vanir | Thom Blach | thomas.blach@vanir.com |
| Borrego Solar | Tarn Yates | tyates@borregosolar.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| SunPower | Bob Redlinger | bob.redlinger@sunpowercorp.com |
| R-REP - Alco Parking Garage |
| Business Name | Contact Name | Email |
| Absolute Power | Mark Shervin | 916-919-02758 |
| Next Phase Solar | Adam Burstein | adam@nextphasesolar.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Cool Earth Solar | Tony Chen | tchen@coolearthsolar.com |
| Albion Power Company | Charles Adams | cadams@albionpower.com |
| Cool Earth Solar | Jake Rudisill | jrudisill@coolearthsolar.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| Veteran Solar | Ray Planter | ray@veteransolar.com |
| R-REP - University Village |
| Business Name | Contact Name | Email |
| Gehrlicher Solar | Ron Perina | ron.perina@mwgroup.net |
| MBL Energy | Chris Beck | chris@MBL-energy.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Vanir | Thom Blach | thomas.blach@vanir.com |
| CupertinoElectric | Mark Lahlouh | Mark_Lahlouh@cei.com |
| Cool Earth Solar | Jake Rudisill | jrudisill@coolearthsolar.com |
| Mbarc Construction | Bobby Bonianti | bobbyb@mbarconline.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| BPI | Julius Bosch | julius@bpi-power.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| Cool Earth Solar | Peter O'Brien | pobrien@coolearthsolar.com |
| SunPower | Bob Redlinger | bob.redlinger@sunpowercorp.com |
| R-REP - Jackson Buildings |
| Business Name | Contact Name | Email |
| Cupertino | Jerry Ashley | jerry_ashley@cei.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| Veteran Solar | Ray Pionter | ray@veteransolarinc.com |
| Cool Earth Solar | Tony Chen | tchen@coolearthsolar.com |
| Cool Earth Solar | Jake Rudisill | jrudisill@coolearthsolar.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Albion Power Company | Charles Adams | cadams@albionpower.com |
| Absolute Power | Mark Shervin | 916-919-02758 |
| Absolute Power | Frank Joga | fjoga@aol.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| Westco Roofing Co. Inc. | Andrew Goddard | andy@westcoroofing.com |
| R-REP - Hayward Landfill |
| Business Name | Contact Name | Email |
| SunPower | Emily Humphreys | emily.humphreys@sunpower.com |
| EDF Renewable Energy | Nader Jandaghi | nader.jandaghi@edf.re.com |
| Albion Power | Howard Rahn |  |
| Absolute Power | Mark Shervin | 916-919-02758 |
| Nextracker/Solaria | Tyroan Hardy | thardy@solaria.com |
| Cool Earth Solar | Tony Chen | tchen@coolearthsolar.com |
| Cool Earth Solar | Peter O'Brien | pobrien@coolearthsolar.com |
| Solar Frontier | Ravi Menon | ravi.menon@solar-frontier.com |
| Vanir | Eric Barger | Eric.barger@vanir.com |
| Borrego Solar | Tarn Yates | tyates@borregosolar.com |
| Cool Earth Solar | Jake Rudisill | jrudisill@coolearthsolar.com |
| Veteran Solar | Ray Pionter | ray@veteransolarinc.com |
| BPI | Brian Peterson | brian@bpi-power.com |
| Ecoplexus | Eric Paul | epaul@ecoplexus.com |
| SunEdison | Raam Perumal | rperumal2@sunedison.com |
| EDF Renewable Energy | Vince Gibbs | vince.gibbs@edf.re.com |
| APS | Frank Joga | fjoga@aol.com |
| Albion Power Company | Charles Adams | cadams@albionpower.com |
| Granite Const. | Nick Jouras | nicholas.jouras@gcinc.com |

### EXHIBIT J

Workforce development conference attendees

Below is the Mandatory Workforce Development Attendees List for this project consisting of people who attended the Mandatory Workforce Development Conference on December 6, 2013 for RFP No. 901098.  Per the Notice of Qualification issued on October 29, 2013 and reminder email communication to vendors on December 4, 2013, vendors who did not attend the Mandatory Workforce Development Conference will be subject to a bid scoring penalty

| R-REP - Workforce Development Conference |
| --- |
| Business Name | Contact Name | Email |
| Tecta Solar Corp. | Ron Braswell | rbraswell@tectaamerica.org |
| Gestamp Solar | Chelsea Turner | Chelsea.Turner@gestamp.com |
| Ecoplexus, Inc. | Gary Eberhart | geberhart@ecoplexus.com |
| REC Solar, Inc. | Ben Peters | bpeters@recsolar.com |
| EDF Renewable Energy, Inc. | Vince Gibbs | Vince.gibbs@edf-re.com |
| Albion Power Company, Inc. | Mary Rodriguez | mary@albionpower.com |
| Cool Earth Solar, Inc. | Tony Chen | Tchen@coolearthsolar.com |
| AMSOLAR , LLC | Matthew Skidmore | mskidrion@sundurance.com |
| Cupertino Electric, Inc. | Christina Hatzistratis | Christina_Hatzistratis@cei.com |
| Gherlicher | Katie Black | Katie.black@mwgroup |
| Vanir, Inc. | Eric Barger | Robert.flory@vanir.com |
| Solar City Corp. | Jennifer Jacklyn | jjachlyn@solarcity.com |
| Borrego, Inc. | Jim Brennan | jbrennas@borregosolar.com |
| SunPower Corp. | Seth Sakamoto | Seth.sakamoto@sunpower.com |
| Shanks Electric | Wanda Race | shankscorp@shankscorp.com |
| SunEdison, LLC. | Jeffrey Spinardi | jspinardi@sunedison.com |