## Table 1
FIRE & INTRUSION ALARM RFQ DEVICE LIST
BUILDING INFORMATION | [7 empty] | FIRE ALARM DEVICES | [19 empty] | INTRUSION ALARM DEVICES
Building # | Building Name | Address | City | Area (sf) | # Floors | 8' Ladder or Lift for Ceiling Access | Region | OSY Tamper | Water Flow | Smoke Detector | Pull Station | PIV | Heat Detector | Duct Detector | Manual Tamper | Power Supplies | Remote Annunciators | Tamper Switches | Notification Devices | Batteries | Beam Detectors | Door Holders | Fire Hydrants | Dry Sprinkler Risers | Wet Sprinkler Risers | Electric Fire Pumps | Diesel Fire Pumps | Keypads | Door/ Window Sensors | Motion Sensors | Batteries | Video Monitors
11020 | ACSO Training Academy | 6289 Madigan Rd. | Dublin | 16808 | 1 | Lift | East County | 2 | 1 | 59 | 5 | 1 | 51 |  |  |  | 1 |  | 1 | 2 |  |  |  |  | 1
11020 | ACSO Training Academy - Gym, Hallway | 6289 Madigan Rd. | Dublin | 24737 | 1 | Ladder | East County | 2 | 1 | 1 | 1 | 1 |  | 2 | 1 |  |  |  | 1 | 2 |  |  |  |  | 1
11030 | Animal Shelter | 4595 Gleason Dr. | Dublin | 15569 | 1 | Lift | East County |  | 1 |  | 3 |  | 2 | 4 |  |  |  |  | 1 | 2 |  |  |  |  | 1 |  |  | 1 | 12 | 2 | 1
11040 | Office of Emergency Services (OES) | 4985 Broder Blvd. | Dublin | 14200 | 1 | Lift | East County | 2 | 1 | 8 | 7 | 1 |  | 14 | 1 |  | 1 |  | 1 | 4 |  |  |  |  | 1
11085 | ACSO Firing Range/Class Room | 5301 Madigan Rd. | Dublin | 10140 | 1 | Lift | East County | 2 | 1 |  | 3 | 2 | 7 | 5 |  |  |  |  | 1 | 2 |  |  |  |  | 2 |  |  | 3 | 6 | 2 | 2
11100 | Public Works Equipment Repair | 6089 Madigan Rd. | Dublin | 31910 | 2 | Lift | East County | 2 | 1 | 10 | 8 |  |  | 3 | 1 |  |  |  | 1 | 2 |  |  |  |  | 1 |  |  | 2 | 28 | 0 | 1
11110 | Small Vehicle Repair/Fuel Station | 6175 Madigan Rd. | Dublin | 3168 | 2 | Lift | East County |  |  | 4 | 4 |  | 24 | [5 empty] | 1 | 2 | [7 empty] | 1 | 12 | 1 | 1
11115 | BMD Warehouse | 5390 Madigan Rd. | Dublin | 15000 | 1 | Ladder | East County | 2 | 1 | 1 | 1
11130 | Public Works - Admin | 4825 Gleason Dr. | Dublin | 8239 | 1 | Lift | East County | 2 | 1 | 18 | 1 |  |  | 3 | 1
14030 | Household Hazardous Waste - East | 5584 La Ribera St. | Livermore | 5240 | 1 | Ladder | East County | 2 | 1 |  | 6 |  | 11 |  | 1 |  | 1 |  | 1 | 2 |  |  |  |  | 1 |  |  | 1 | 9 | 4 | 1
11050 | California Highway Patrol | 4999 Gleason Dr. | Dublin | 11915 | 1 | Lift | East County |  |  | 33 | 0 | 1 | 3 |  | 1
2/1/2018 I:\BMD\Combined Shop\All Buildings\Multi-Year Contracts\RFP-RFQs\Fire & Intrusion Alarm RFPs\2017 RFP\Building & Device Lists\Device Lists\2018-02-01 RFP Alarms Device List - East County-Final.xlsx