## Exh D - Bldg List
RFQ 901820 FIRE & INTRUSION ALARM
EXHIBIT D - BUILDING LIST
REGION 1 - NORTH COUNTY
BUILDING INFORMATION |  |  |  |  | FIRE ALARM SYSTEM | [10 empty] | INTRUSION ALARM SYSTEM
BUILDING # | BUILDING NAME | ADDRESS | CITY | AREA (SQFT) | Special Comment | Testing During Normal Business Hours? | Fire Alarm (Yes or No) | Fire Suppression System (Yes or No) | Fire Pump Testing (Yes or No) | Control Panel Mfg. | # Fire Sprinkler Risers/Bldg | Main FACP Model # | # Zones | Wireless Transmitter (Yes or No) | Land Line (Yes or No) | Intrusion Alarm (Yes or No) | Control Panel Mfg. | Control Panel Model # | # Zones | Wireless Transmitter (Yes or No) | Land Line (Yes or No)
02010 | Albany Veterans' Memorial Building | 1325 Portland Ave. | Albany | 13652 |  | NO | YES | NO | NO | Fire-Lite | 0 | MS-9200 | 3 | NO | YES | NO
04020 | Andover House | 3408 Andover St. | Oakland | 5285 |  | NO | YES | NO | NO | Fire-Lite | 1 | MS-9050UD | 2 | NO | YES | NO
04360 | Family Justice Center | 470 27th St. | Oakland | 32047 |  | NO | YES | NO | NO | Edwards | 4 | EST | 10 | NO | YES | NO
04380 | Madison St. Building | 1106 Madison St. | Oakland | 77142 |  | NO | YES | NO | NO | Notifier | 2 | Onyx NFS2 3030 | 10 | NO | YES | NO
04390 | Administration Building | 1221 Oak St. | Oakland | 235898 |  | NO | YES | YES | YES | Cerberus Pyrotronics | 2 | MXL | 4 | NO | YES | NO
04400 | Rene C. Davidson Courthouse | 1225 Fallon St. | Oakland | 263993 |  | NO | YES | NO | NO | Edwards | 2 | CM1NCM2N | 10 | NO | YES | NO
04410 | Law Library/Conference Center | 125 12th St. | Oakland | 73309 |  | NO | YES | NO | NO | Simplex | 2 | 4020 | 2 | NO | YES | NO
04430 | Lakeside Plaza | 1401 Lakeside Dr. | Oakland | 140146 |  | NO | YES | NO | YES | Notifier | 2 | AFP 200 | 10 | NO | YES | YES | ARITECH | Z900 | 6 | NO | YES
04440 | Alcopark | 165 13th St. | Oakland | 406528 |  | NO | YES | NO | YES | Notifier | 2 | AFP200 | 4 | NO | YES | NO
04640 | ITD Headquarters | 393 13th St. | Oakland | 51533 |  | NO | YES | YES | NO | Simplex | 4 | 4007-9201 | 4 | NO | YES | NO
04722 | Jackson Center | 1111 Jackson St. | Oakland | 136152 |  | NO | YES | NO | YES | Notifier | 2 | NFS-30130 Onyx | 3 | NO | YES | NO
04735 | North County Self Sufficiency Center | 2000 San Pablo Ave. | Oakland | 102404 |  | NO | YES | NO | NO | Fire Control Instruments | 4 | 7100-2D | 2 | NO | YES | NO
01030 | Environmental Health | 1131 Harbor Bay Parkway | Alameda | 49297 |  | YES | YES | NO | NO | Fire-Lite | 1 | MS-9600 | 78 Points | NO | YES | NO
04030 | Household Hazardous Waste - North | 2100 E. 7th St. | Oakland | 9947 |  | YES | YES | NO | NO | Silent Knight | 4 | 5207 | 8 | NO | YES | YES | Moose | Z1100E | 14 | NO | YES
04210 | Probation Center and Annex | 400 Broadway | Oakland | 108703 | Basement Sprinklers Only | YES | YES | YES | NO | Fire-Lite | 1 | MS-9200 | 18 Points | NO | YES | NO
04220 | Social Services Agency - Broadway | 401 Broadway | Oakland | 100851 | Basement Sprinklers Only | YES | YES | NO | NO | Notifier | 1 | UDACT-2 | 4 Zones | NO | YES | NO
04280 | Glenn Dyer Detention Facility | 550 6th St. | Oakland | 216734 | No Monitoring | YES | YES | YES (2) | YES | Simplex | 3 | 4207/4221/4170 | 33 | NO | NO | NO
04544 | Arena Center - Building #1 | 7195 Oakport St. | Oakland | 38085 |  | YES | YES | YES | NO | Notifier | 1 | AFP-200 | 41 points | NO | YES | NO
04546 | Arena Center - Buildings #2 & #3 | 7001 Oakport St. | Oakland | 60733 |  | YES | YES | YES | NO | Notifier | 1 | AFP-200 | 29 points | NO | YES | YES | Digital Monitoring Products | XT30CDMA | 14 | YES | NO
04560 | SSA - Enterprise | 8477 Enterprise Way | Oakland | 40131 | No Sprinklers | YES | YES | NO | NO | FireLite | 0 | MS-9600UDLS | 4 | YES | NO | NO
04580 | Social Services Agency - Edgewater | 7751 Edgewater Dr. | Oakland | 27595 |  | YES | YES | YES | NO | Notifier | 1 | NFS-320E | 10 | NO | YES | NO
04730 | ROV Warehouse | 8000 Capwell Dr. | Oakland | 70337 |  | YES | YES | NO | NO | Ademco | 2 | Vista - 32FB | 6 | YES | NO | NO
REGION 1 - NORTH COUNTY
REGION 2 - EAST COUNTY
BUILDING INFORMATION |  |  |  |  | FIRE ALARM | [10 empty] | INTRUSION ALARM
BUILDING # | BUILDING NAME | ADDRESS | CITY | AREA (SQFT) | Special Comment | Testing During Normal Business Hours? | Fire Alarm (Yes or No) | Fire Suppression System (Yes or No) | Fire Pump Testing (Yes or No) | Control Panel Mfg. | # Fire Sprinkler Risers/Bldg | Main FACP Model # | # Zones | Wireless Transmitter (Yes or No) | Land Line (Yes or No) | Intrusion Alarm (Yes or No) | Control Panel Mfg. | Control Panel Model # | # Zones | Wireless Transmitter (Yes or No) | Land Line (Yes or No)
11020 | ACSO Training Academy Gym, Hallway | 6289 Madigan Rd. | Dublin | 24737 |  | YES | YES | YES | NO | Silent Knight | 1 | 5700 | 6 | NO | YES | NO
11030 | Animal Shelter | 4595 Gleason Dr. | Dublin | 15569 |  | YES | YES | YES | NO | Silent Knight | 1 | SK-5208 | 12 | NO | YES | YES | Bosch | D7412GV2 | 8 | NO | YES
11040 | Office of Emergency Services (OES) | 4985 Broder Blvd. | Dublin | 14200 |  | YES | YES | YES | NO | Simplex | 1 | 4020 | 48 | NO | YES | YES | ACME | D7412G | 2 | YES | NO
11085 | ACSO Firing Range/Class Room | 5301 Madigan Rd. | Dublin | 10140 |  | YES | YES | YES | NO | Edwards | 2 | EST2 | 16 | NO | YES | YES | Bosch | D7412G | 7 | NO | YES
11100 | Public Works Equipment Repair | 6089 Madigan Rd. | Dublin | 31910 |  | YES | YES | YES | NO | Autocall | 1 | MDK4 | 7 | NO | YES | YES | Thoorne | Z1100e | 10 | NO | YES
11110 | Small Vehicle Repair/Fuel Station | 6175 Madigan Rd. | Dublin | 3168 |  | YES | YES | NO | NO | Silent Knight | 0 | SK-5207 | 6 | NO | YES | YES | Bosch | D4412 | 7 | YES | NO
11115 | BMD Warehouse | 5390 Madigan Rd. | Dublin | 15000 |  | YES | YES | YES | NO | Silent Knight | 1 | SK-5207 | 4 | NO | YES | NO
11130 | Public Works - Admin | 4825 Gleason Dr. | Dublin | 8239 |  | YES | YES | YES | NO | Silent Knight | 1 | SK-5207 | 9 | NO | YES | YES | Security Control | Z1100e | 8 | NO | YES
14030 | Household Hazardous Waste - East | 5584 La Ribera St. | Livermore | 5240 |  | YES | YES | YES | NO | Game Well | 2 | FCS-S3 | 39 | NO | YES | NO
11050 | California Highway Patrol | 4999 Gleason Dr. | Dublin | 11915 |  | YES | YES | YES | NO | Silent Knight | 1 | SK-5207 | 4 | NO | NO | NO
REGION 2 - EAST COUNTY GRAND TOTAL FOR 3 YEARS
REGION 3 - SOUTH COUNTY
BUILDING INFORMATION |  |  |  |  | FIRE ALARM | [10 empty] | INTRUSION ALARM
BUILDING # | BUILDING NAME | ADDRESS | CITY | AREA (SQFT) | Special Comment | Testing During Normal Business Hours? | Fire Alarm (Yes or No) | Fire Suppression System (Yes or No) | Fire Pump Testing (Yes or No) | Control Panel Mfg. | # Fire Sprinkler Risers/Bldg | Main FACP Model # | # Zones | Wireless Transmitter (Yes or No) | Land Line (Yes or No) | Intrusion Alarm (Yes or No) | Control Panel Mfg. | Control Panel Model # | # Zones | Wireless Transmitter (Yes or No) | Land Line (Yes or No)
04115 | Youth Uprising | 8711 MacArthur Blvd. | Oakland | 25286 |  | YES | YES | NO | NO | Notifier | 2 | 5624 | 8 | NO | YES | NO
04490 | Peralta Oaks | 2901 Peralta Oaks Ct. | Oakland | 51408 |  | YES | YES | NO | NO | EST | 6 | EST10500 | 3 | NO | YES | NO
10020 | Nike Site | 2892 Fairmont Drive | San Leandro | 6254 |  | YES | YES | NO | NO | Bosch | 0 | D1640 | 2 | NO | YES | NO
17010 | Las Vistas III | 2300 Fairmont Dr | San Leandro | 6804 |  | YES | YES | NO | NO | Silent Knight | 0 | SK5208 | 2 | NO | YES | NO
17080 | Eden Township Station | 15001 Foothill Blvd | San Leandro | 25851 |  | YES | YES | NO | NO | Silent Knight | 1 | 5104 | 1 | NO | YES | NO
17100 | Property & Salvage | 15800 Foothill Blvd | San Leandro | 25839 |  | YES | YES | NO | NO | Silent Knight | 0 | MXL-IQ | 3 | NO | YES | NO
17115 | Ashland Youth Center | 16335 E 14th St | San Leandro | 33000 |  | YES | YES | NO | NO | Siemens | 1 | FS-250 | 4 | NO | YES | NO
17150 | Eden Mental Health | 2045 Fairmont Dr. | San Leandro | 8239 |  | YES | YES | NO | NO | Silent Knight | 2 | 5104 | 4 | NO | YES | NO
17163 | BMD Administration House | 2054 Fairmont Dr. | San Leandro | 1452 |  | YES | YES | NO | NO | GE | 0 | NX8U2 | 8 | NO | YES | YES | Cr Alert RN | NX148E | 8 | NO | YES
17166 | Criminal Justice Mental Health-Trailer #1 | 2045 Fairmont Dr. | San Leandro | 2800 |  | YES | YES | NO | NO | Silent Knight | 0 | MS9200 | 4 | NO | YES | NO
17167 | Eden Socialization Program-Trailer # 3 | 2045 Fairmont Dr. | San Leandro | 2800 |  | YES | YES | NO | NO | Silent Knight | 0 | 5104 | 4 | NO | YES | NO
17171 | Snedigar Cottage | 2130 Fairmont Dr. | San Leandro | 6420 |  | YES | YES | NO | NO | Silent Knight | 0 | 5204 | 4 | NO | YES | YES | Allied | 2-1250 | 3 | NO | YES
17172 | Las Vistas I | 2300 Fairmont Dr. | San Leandro | 6726 |  | YES | YES | NO | NO | Silent Knight | 0 | 5204 | 4 | NO | YES | NO
17201 | Las Vistas II | 2300 Fairmont Dr. | San Leandro | 6804 |  | YES | YES | NO | NO | Silent Knight | 0 | 5207 | 6 | NO | YES | NO
17202 | Las Vistas Recreation | 2300 Fairmont Dr. | San Leandro | 2061 |  | YES | YES | NO | NO | Silent Knight | 0 | 5208 | 2 | NO | YES | NO
17215 | Juvenile Justice Center | 2500 Fairmont Dr. | San Leandro | 455059 |  | YES | YES | YES | NO | Siemens | 8 | Siemens XLS1 | N/A | NO | NO | NO
17220 | Camp Wilmont Sweeney | 2600 Fairmont Dr. | San Leandro | 33404 |  | YES | YES | NO | NO | Silent Knight | 1 | 5207 | 4 | NO | YES | NO
17270 | Cherry Hill Detox | 2035 Fairmont Dr. | San Leandro | 7235 |  | YES | YES | NO | NO | Fire-Lite | 1 | 5204 & 4001 | 4 & 4 | NO | YES | NO
17291 | Jay Mahler Recovery Center | 15430 Foothill Blvd. | San Leandro | 50115 |  | YES | YES | NO | NO | Honeywell | 1 | N/A | 3 | NO | YES | NO
17295 | Safe House Sobering Center | 15480 Foothill Blvd. | San Leandro | 5736 |  | YES | YES | NO | NO | Fire-Lite | 1 | MS705UD | 4 | NO | YES | NO
17300 | Crisis Response - BHCS | 15750 Foothill Blvd. | San Leandro | 5600 |  | YES | YES | NO | NO | Notworx | 1 | 5207 | 8 | NO | YES | NO
18020 | Library - San Lorenzo | 395 Paseo Grande | San Lorenzo | 11867 |  | YES | YES | NO | NO | Micron | 1 | FX3500 | 4 | NO | YES | NO
10030 | Library - Old Castro Valley | 20055 Redwood Road | Castro Valley | 10239 |  | YES | YES | NO | NO | Silent Knight | 0 | 5204 | 4 | NO | YES | NO
10035 | Library - Castro Valley | 3600 Norbridge Ave. | Castro Valley | 34537 |  | YES | YES | NO | NO | Honeywell | 1 | ES | 5 | NO | YES | NO
12050 | Fremont Veterans' Memorial Building | 37154 Second St. | Fremont | 11132 |  | YES | YES | YES | NO | simplex | 0 | 4100 | N | NO | YES | NO
13040 | Motor Vehicle Repair | 10 Moran Ct. | Hayward | 3312 |  | YES | YES | NO | NO | Silent Knight | 1 | 5104 | 4 | NO | YES | NO
13050 | Household Haz Waste - South | 2091 W. Winton Ave. | Hayward | 5040 |  | YES | YES | NO | NO | Radionics | 1 | 8112 | 5 | NO | YES | YES | radionics | 8112 | 5 | NO | YES
13060 | Winton Avenue Building | 224 W. Winton Ave. | Hayward | 81665 |  | NO | YES | NO | NO | Silent Knight | 2 | 5820xl | 6 | NO | YES | YES | GE | Z1100 | 8 | NO | YES
13112 | Courthouse Square | 24085 Amador St. | Hayward | 49200 |  | YES | YES | NO | NO | Silent Knight | 2 | 5820xl | 4 | NO | YES | NO
13170 | Homeless Shelter | 256-258 A St | Hayward | 6300 |  | YES | YES | YES | NO | Silent Knight | 0 | 5104 | 4 | NO | YES | NO
13181 | Public Works - Turner Court (Flood) | 951 Turner Ct. | Hayward | 27120 |  | YES | YES | NO | NO | Simplex | 0 | 4002 | 18 | NO | YES | NO
13182 | Pub Works-Turner Court (Road/Field) | 951A Turner Ct. | Hayward | 30989 |  | YES | YES | NO | NO | Sensiscan | 2 | 2000 |  | NO | YES | NO
13230 | South County Crisis Building | 409 Jackson St. | Hayward | 10140 |  | YES | YES | NO | NO | Criticom | 0 | ESTIO500 | 5 | NO | YES | NO
REGION 3 - SOUTH COUNTY

## Exh E - Device Information
RFQ 901820 FIRE & INTRUSION ALARM
EXHIBIT E - DEVICE LIST
REGION 1 - NORTH COUNTY
BUILDING INFORMATION | [6 empty] | FIRE ALARM | [36 empty] | INTRUSION ALARM
BUILDING # | BUILDING NAME | ADDRESS | CITY | AREA (SQFT) | # Floors | 8' Ladder or Lift for Ceiling Access | Control Panel | Power Supply | Batteries | Remote Power Supply | PIV | Pull Stations | Smoke Detectors | Fire Smoke Damper | Strobe | Speaker / Strobe Combo | Fire Fighter's Phone Jack | Heat Detectors | Heat Detector, Fixed High Temp | Heat Detector, Rate-of- Rise | Water Flows | Water Flow Bell | Water Flow Switch | Water Flow Riser | Tamper Switches | Supevisory Switch | Manual Fire Alarm Boxes | Photo Detectors | Bells | Duct Detectors | Annunciator Panel | Remote Annunciator | Notification Devices | Monitor Module | Dual Monitor Module | Relay Module | Beam Detectors | Door Holders | Fire Hydrants | Dry Sprinkler Risers | Wet Sprinkler Risers | Electric Fire Pumps | Diesel Fire Pumps | Keypads | Door/ Window Sensors | Motion Sensors | Batteries | Video Monitors | Glass Breakage Contact | Supervisory
02010 | Albany Veterans' Memorial Building | 1325 Portland Ave. | Albany | 13652 | 2 | Lift | 1 | 1 | 2 | 1 |  | 10 | 15 |  | 12 | [6 empty] | 1 | [10 empty] | 7 |  |  |  | 4
04020 | Andover House | 3408 Andover St. | Oakland | 5285 | 1 | Ladder | 1 | 1 | 2 | 1 |  | 2 | 7 |  |  |  |  | 4 |  |  | 1 | 1 |  |  | 1 | [7 empty] | 3 | [6 empty] | 1 | 1
04360 | Family Justice Center | 470 27th St. | Oakland | 32047 | 3 | Ladder | 1 | 1 | 2 | 3 |  | 12 | 43 |  | 49 | [6 empty] | 1 | [10 empty] | 24 | [6 empty] | 2 | 2
04380 | Madison St. Building | 1106 Madison St. | Oakland | 77142 | 4 | Lift | 1 | 1 | 2 | 5 |  | 21 | 17 | [7 empty] | 5 | 1 |  |  | 7 | [7 empty] | 72 |  |  |  |  | 8 |  | 4 | 4
04390 | Administration Building | 1221 Oak St. | Oakland | 235898 | 5 | Lift | 1 | 1 | 2 | 7 |  | 37 | 64 | [7 empty] | 3 | 1 |  |  | 2 |  |  |  |  | 33 |  | 1 | 78 |  |  |  |  | 1 |  | 5 | 5 | 2
04400 | Rene C. Davidson Courthouse | 1225 Fallon St. | Oakland | 263993 | 12 | Lift | 1 | 1 | 2 | 5 |  | 39 | 199 |  |  | 200 |  | 8 |  |  | 1 | 1 |  |  | 8 |  |  |  |  | 18 |  | 1 | [5 empty] | 1 |  | 12 | 3 | 2
04410 | Law Library/Conference Center | 125 12th St. | Oakland | 73309 | 4 | Lift | 1 | 1 | 2 | 3 |  | 8 | 56 | [7 empty] | 3 | 1 |  |  | 6 | [7 empty] | 65 |  |  |  |  | 5 |  | 4 | 4
04430 | Lakeside Plaza | 1401 Lakeside Dr. | Oakland | 140146 | 12 | Lift | 1 | 1 | 2 | 13 |  | 40 | 46 |  |  | 250 | [5 empty] | 1 | [7 empty] | 17 | [7 empty] | 10 |  | 12 | 12 | 1 | 1 | 1 |  | 1 | 1 | 1
04440 | Alcopark | 165 13th St. | Oakland | 406528 | 10 | Ladder | 1 | 1 | 2 | 3 |  | 23 | 14 | [7 empty] | 2 | 1 |  |  | 3 | [7 empty] | 22 | [6 empty] | 9 | 9 | 2
04640 | ITD Headquarters | 393 13th St. | Oakland | 51533 | 5 | Ladder | 1 | 1 | 9 |  |  | 1 | 34 |  | 13 | 59 |  | 1 |  |  | 5 | 1 |  |  | 5 |  |  |  |  | 17 | 1 | [8 empty] | 2 | 2
04722 | Jackson Center | 1111 Jackson St. | Oakland | 136152 | 8 | Lift | 1 |  | 2 | 9 |  | 1 | 169 | 27 | 76 | 204 | 10 |  | 6 | 9 | 14 | 1 |  |  | 15 |  |  |  |  | 2 | 1 | 1 |  | 29 | 25 | 60 |  |  |  | 8 | 8 | 1
04735 | North County Self Sufficiency Center | 2000 San Pablo Ave. | Oakland | 102404 | 4 | Ladder | 1 | 1 | 2 | 7 |  | 13 | 47 |  |  |  |  | 1 |  |  | 4 | 1 |  |  | 5 |  |  |  |  | 25 |  | 1 | 63 |  |  |  |  | 6 |  | 4 | 4
01030 | Environmental Health | 1131 Harbor Bay Parkway | Alameda | 49297 | 2 | Ladder | 1 | 1 | 1 |  | 1 | 8 |  |  | 17 | 20 |  | 8 |  |  |  |  | 1 | 1 |  | 1 | 8 | 65 | 1 |  |  | 1 | 1 | [7 empty] | 1
04030 | Household Hazardous Waste - North | 2100 E. 7th St. | Oakland | 9947 | 1 | Lift | 1 | 1 | 1 |  | 1 | 8 | 14 |  | 2 | 6 |  | 12 |  |  |  |  | 4 | 4 | 4 | [7 empty] | 1 | [7 empty] | 4 |  |  | 1 | 15 | 2 | 2 |  | 1 | 6
04210 | Probation Center and Annex | 400 Broadway | Oakland | 108703 | 5 | Ladder | 1 | 1 | 1 |  |  | 21 | 23 | [9 empty] | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 | 1 | [6 empty] | 3 | 1
04220 | Social Services Agency - Broadway | 401 Broadway | Oakland | 100851 | 6 | Ladder | 1 | 5 | 9 |  |  | 25 | 30 | [9 empty] | 1 | 1 | 1 |  |  |  | 1 | 11 |  |  | 1 | [6 empty] | 2 | 1
04280 | Glenn Dyer Detention Facility | 550 6th St. | Oakland | 216734 | 20 Levels | Lift | 1 | 1 | 1 |  |  |  | 55 |  |  | 22 | 85 | [5 empty] | 22 | 2 | 25 |  |  |  |  | 640 |  | 8 | [8 empty] | 1 | 3
04544 | Arena Center - Building #1 | 7195 Oakport St. | Oakland | 38085 | 2 | Lift | 1 | 1 | 2 |  | 1 | 1 | 7 |  |  | 4 | [7 empty] | 1 | 6 |  |  |  | 1 | 12 |  | 1 | 1 | [7 empty] | 1
04546 | Arena Center - Buildings #2 & #3 | 7001 Oakport St. | Oakland | 60733 | 3 | Lift | 1 | 1 | 2 |  | 1 | 4 | 85 |  |  | 1 |  | 1 |  |  |  |  | 2 | 1 | 2 |  |  |  | 1 | 32 |  | 2 | 2 |  |  |  |  | 13 |  | 1 | 1 |  |  | 1 |  | 15 | 2
04560 | SSA - Enterprise | 8477 Enterprise Way | Oakland | 40131 | 3 | Ladder | 1 | 1 | 2 |  | 1 | 9 |  |  | 12 | 36 | [10 empty] | 11 | 139 |  |  |  |  | 1
04580 | Social Services Agency - Edgewater | 7751 Edgewater Dr. | Oakland | 27595 | 1 | Ladder | 1 | 1 | 2 |  | 1 | 1 | 1 |  | 6 | 26 | [6 empty] | 1 | 1 | 1 | 2 | 1 |  | 1 |  |  | 1 | 1 | [6 empty] | 2 | 1
04730 | ROV Warehouse | 8000 Capwell Dr. | Oakland | 70337 | 2 | Lift | 1 | 1 | 2 |  | 1 | 1 | 1 |  | 1 | [7 empty] | 2 | 1 | 2 |  | 1 |  | 2 | 2 |  |  | 1 | [7 empty] | 1
REGION 1 - NORTH COUNTY
REGION 2 - EAST COUNTY
BUILDING INFORMATION | [6 empty] | FIRE ALARM | [19 empty] | INTRUSION ALARM
BUILDING # | BUILDING NAME | ADDRESS | CITY | AREA (SQFT) | # Floors | 8' Ladder or Lift for Ceiling Access | OSY Tamper | Water Flow | Smoke Detector | Pull Station | PIV | Heat Detector | Duct Detector | Manual Tamper | Power Supplies | Remote Annunciators | Tamper Switches | Notification Devices | Batteries | Beam Detectors | Door Holders | Fire Hydrants | Dry Sprinkler Risers | Wet Sprinkler Risers | Electric Fire Pumps | Diesel Fire Pumps | Keypads | Door/ Window Sensors | Motion Sensors | Batteries | Video Monitors
11020 | ACSO Training Academy Gym, Hallway | 6289 Madigan Rd. | Dublin | 24737 | 1 | Ladder | 2 | 1 | 1 | 1 | 1 |  | 2 | 1 |  |  |  | 1 | 2 |  |  |  |  | 1
11030 | Animal Shelter | 4595 Gleason Dr. | Dublin | 15569 | 1 | Lift |  | 1 |  | 3 |  | 2 | 4 |  |  |  |  | 1 | 2 |  |  |  |  | 1 |  |  | 1 | 12 | 2 | 1
11040 | Office of Emergency Services (OES) | 4985 Broder Blvd. | Dublin | 14200 | 1 | Lift | 2 | 1 | 8 | 7 | 1 |  | 14 | 1 |  | 1 |  | 1 | 4 |  |  |  |  | 1
11085 | ACSO Firing Range/Class Room | 5301 Madigan Rd. | Dublin | 10140 | 1 | Lift | 2 | 1 |  | 3 | 2 | 7 | 5 |  |  |  |  | 1 | 2 |  |  |  |  | 2 |  |  | 3 | 6 | 2 | 2
11100 | Public Works Equipment Repair | 6089 Madigan Rd. | Dublin | 31910 | 2 | Lift | 2 | 1 | 10 | 8 |  |  | 3 | 1 |  |  |  | 1 | 2 |  |  |  |  | 1 |  |  | 2 | 28 | 0 | 1
11110 | Small Vehicle Repair/Fuel Station | 6175 Madigan Rd. | Dublin | 3168 | 2 | Lift |  |  | 4 | 4 |  | 24 | [5 empty] | 1 | 2 | [7 empty] | 1 | 12 | 1 | 1
11115 | BMD Warehouse | 5390 Madigan Rd. | Dublin | 15000 | 1 | Ladder | 2 | 1 | 1 | 1 | [13 empty] | 1
11130 | Public Works - Admin | 4825 Gleason Dr. | Dublin | 8239 | 1 | Lift | 2 | 1 | 18 | 1 |  |  | 3 | 1 | [9 empty] | 1
14030 | Household Hazardous Waste - East | 5584 La Ribera St. | Livermore | 5240 | 1 | Ladder | 2 | 1 |  | 6 |  | 11 |  | 1 |  | 1 |  | 1 | 2 |  |  |  |  | 1 |  |  | 1 | 2 | 2 | 1
11050 | California Highway Patrol | 4999 Gleason Dr. | Dublin | 11915 | 1 | Lift |  |  | 33 | 0 | 1 | 3 |  | 1 | [9 empty] | 1
REGION 2 - EAST COUNTY
REGION 3 - SOUTH COUNTY
BUILDING INFORMATION | [6 empty] | FIRE ALARM | [25 empty] | INTRUSION ALARM
BUILDING # | BUILDING NAME | ADDRESS | CITY | AREA (SQFT) | # Floors | 8' Ladder or Lift for Ceiling Access | Horn/ Strobe | Smoke Detector | Strobe | Annunciator | Pull Station | Duct Detector | Fan Shutdown | Programm- able Relay | Communication Line | Power Supply | Control Panel | Batteries | Main/Sub- Panels | Heat Detectors | Water Flows | Tampers | Flow Switch | Post Indicator Valve | Riser & Switch | Beam Detectors | Magnetic Door Holders | Fire Hydrants | Dry Sprinkler Risers | Wet Sprinkler Risers | Electric Fire Pumps | Diesel Fire Pumps | Keypads | Door/ Window Sensors | Motion Sensors | Batteries | Video Monitors
04115 | Youth Uprising | 8711 MacArthur Blvd. | Oakland | 25286 | 1 | Ladder |  | 11 |  |  | 16 | 7 | [9 empty] | 2 | [7 empty] | 1
04490 | Peralta Oaks | 2901 Peralta Oaks Ct. | Oakland | 51408 | 3 | Ladder |  | 63 |  |  | 11 | 4 | [7 empty] | 4 |  | 5 |  | 1 | [5 empty] | 1
10020 | Nike Site | 2892 Fairmont Drive | San Leandro | 6254 | 1 | Ladder |  | 2 |  |  | 1 | [17 empty] | 0 | 0
17010 | Las Vistas III | 2300 Fairmont Dr | San Leandro | 6804 | 1 | Ladder |  | 14 |  |  | 4 | [8 empty] | 15 | [8 empty] | 0 | 0
17080 | Eden Township Station | 15001 Foothill Blvd | San Leandro | 25851 | 3 | Ladder |  | 37 |  |  | 3 | [8 empty] | 4 | [9 empty] | 1
17100 | Property & Salvage | 15800 Foothill Blvd | San Leandro | 25839 | 2 | Ladder |  | 16 |  |  | 2 | [17 empty] | 0 | 0
17115 | Ashland Youth Center | 16335 E 14th St | San Leandro | 33000 | 2 | Ladder |  | 11 |  |  | 1 | 10 | [6 empty] | 1 | 2 | 2 | 4 | [7 empty] | 1
17150 | Eden Mental Health | 2045 Fairmont Dr. | San Leandro | 8239 | 2 | Ladder |  | 7 |  |  | 9 | 2 | [12 empty] | 1 |  |  |  | 1 | 1
17163 | BMD Administration House | 2054 Fairmont Dr. | San Leandro | 1452 | 1 | Ladder |  | 5 | [20 empty] | 0 | 0 |  |  | 1 |  | 6 | 2
17166 | Criminal Justice Mental Health-Trailer #1 | 2045 Fairmont Dr. | San Leandro | 2800 | 1 | Ladder |  | 5 |  |  | 3 | [17 empty] | 0 | 0
17167 | Eden Socialization Program-Trailer # 3 | 2045 Fairmont Dr. | San Leandro | 2800 | 1 | Ladder |  | 5 |  |  | 3 | [17 empty] | 0 | 0
17171 | Snedigar Cottage | 2130 Fairmont Dr. | San Leandro | 6420 | 1 | Ladder |  | 16 |  |  | 7 | [8 empty] | 3 | [8 empty] | 0 | 0 |  |  | 1 | 5 | 10 | 1
17172 | Las Vistas I | 2300 Fairmont Dr. | San Leandro | 6726 | 1 | Ladder |  | 14 |  |  | 4 | [8 empty] | 15 | [8 empty] | 0 | 0
17201 | Las Vistas II | 2300 Fairmont Dr. | San Leandro | 6804 | 1 | Ladder |  | 14 |  |  | 4 | [8 empty] | 15 | [8 empty] | 0 | 0
17202 | Las Vistas Recreation | 2300 Fairmont Dr. | San Leandro | 2061 | 1 | Ladder |  | 2 |  |  | 2 | [8 empty] | 1 | [8 empty] | 0 | 0
17215 | Juvenile Justice Center | 2500 Fairmont Dr. | San Leandro | 455059 | 6 | Both | 181 | 1143 | 281 | 2 | 45 | 22 | 15 | 142 |  | 14 | 5 | 40 | 5 | 12 | 8 |  |  | 14 |  |  | 6 | 12 | 0 | 4
17220 | Camp Wilmont Sweeney | 2600 Fairmont Dr. | San Leandro | 33404 | 1 | Ladder |  | 15 |  |  | 21 | [8 empty] | 7 |  |  |  |  | 1 |  |  |  | 0 | 1
17270 | Cherry Hill Detox | 2035 Fairmont Dr. | San Leandro | 7235 | 1 | Ladder |  | 24 |  |  | 7 | 2 | [7 empty] | 3 |  |  |  |  | 1 |  |  |  | 0 | 1
17291 | Jay Mahler Recovery Center | 15430 Foothill Blvd. | San Leandro | 50115 | 1 | Ladder |  | 37 |  |  | 2 | [13 empty] | 1 |  |  |  | 1 | 1
17295 | Safe House Sobering Center | 15480 Foothill Blvd. | San Leandro | 5736 | 1 | Ladder |  | 18 |  |  | 9 | 2 | [12 empty] | 1 |  |  |  | 1 | 1
17300 | Crisis Response - BHCS | 15750 Foothill Blvd. | San Leandro | 5600 | 1 | Ladder |  | 5 |  |  | 5 | [17 empty] | 0 | 1
18020 | Library - San Lorenzo | 395 Paseo Grande | San Lorenzo | 11867 | 1 | Ladder |  | 5 |  |  | 5 | 4 | [9 empty] | 1 |  | 1 | [5 empty] | 1
10030 | Library - Old Castro Valley | 20055 Redwood Road | Castro Valley | 10239 | 1 | Ladder |  | 11 | [8 empty] | 1 |  |  | 1 | [8 empty] | 0 | 0
10035 | Library - Castro Valley | 3600 Norbridge Ave. | Castro Valley | 34537 | 1 | Ladder |  | 9 |  |  | 9 | 2 | [7 empty] | 1 |  | 3 |  | 1 |  |  | 2 |  |  | 1
12050 | Fremont Veterans' Memorial Building | 37154 Second St. | Fremont | 11132 | 1 | Ladder |  | 40 |  |  | 7 | [8 empty] | 2 | [8 empty] | 0 | 0
13040 | Motor Vehicle Repair | 10 Moran Ct. | Hayward | 3312 | 1 | Ladder | [16 empty] | 1 | [6 empty] | 1
13050 | Household Haz Waste - South | 2091 W. Winton Ave. | Hayward | 5040 | 1 | Ladder |  | 14 |  |  | 5 | [8 empty] | 2 |  |  | 3 | 1 | [5 empty] | 2 |  |  | 1 | 4 | 4 | 1
13060 | Winton Avenue Building | 224 W. Winton Ave. | Hayward | 81665 | 3 | Ladder |  | 220 |  |  | 15 | 2 | 6 | [6 empty] | 40 |  | 3 | 2 | [6 empty] | 1 |  |  | 4 | 12 | 17 | 1
13112 | Courthouse Square | 24085 Amador St. | Hayward | 49200 | 4 | Ladder |  | 13 |  |  | 8 | 4 | [9 empty] | 6 | 5 | [6 empty] | 1
13170 | Homeless Shelter | 256-258 A St | Hayward | 6300 | 1 | Ladder |  | 14 | 5 |  | 4 | 1 | [16 empty] | 0 | 0
13181 | Public Works - Turner Court (Flood) | 951 Turner Ct. | Hayward | 27120 | 1 | Ladder |  | 2 |  |  | 11 | 2 | [10 empty] | 1 | 1 | [5 empty] | 0
13182 | Pub Works-Turner Court (Road/Field) | 951A Turner Ct. | Hayward | 30989 | 1 | Ladder |  |  |  |  | 5 | 4 | [16 empty] | 1 | 1
13230 | South County Crisis Building | 409 Jackson St. | Hayward | 10140 | 2 | Ladder | 33 | 9 | 9 | 1 | 5 | 6 | 6 | 2 | 2 | 1 | 1 | 4 | [10 empty] | 0 | 0
REGION 3 - SOUTH COUNTY