COUNTY OF ALAMEDA

ADDENDUM No. 1

to

RFQ No. 901879

### for

Hazardous Waste Disposal Services

Specification/Clarification/Modification

This County of Alameda, General Services Agency (GSA), RFP/Q Addendum has been electronically issued to potential bidders via e-mail. E-mail addresses used are those in the County’s Small Local Emerging Business (SLEB) Vendor Database or from other sources. If you have registered or are certified as a SLEB, please ensure that the complete and accurate e-mail address is noted and kept updated in the SLEB Vendor Database. This RFP/Q Addendum will also be posted on the GSA Contracting Opportunities website located at http://www.acgov.org/gsa/purchasing/bid_content/ContractOpportunities.jsp.

Alameda County is committed to reducing environmental impacts across our entire supply chain.

If printing this document, please print only what you need, print double-sided, and use recycled-content paper.

The following Sections have been modified to read as shown below.  Changes made to the original RFP document are in bold print and highlighted, and deletions made have a strike through.

## SPECIFIC REQUIREMENTS

    - Contractor shall have the capability to mobilize and shall respond to a Cleanup Site within two hours of initial contact from County.

    - Contractor shall employ qualified personnel, and to the extent necessary, subcontractor and/or agents, (if any), who have been instructed in and have experience with the proper safety procedures to be used in the handling and disposal associated with hazardous waste cleanup operations.

    - Contractor shall warrant that it has obtained all licenses and permits required by law for companies that engage in the activities required in this RFQ.

4.	Contractor personnel shall meet or exceed the generally accepted industry practices and standards involved in the identification, containment, cleanup, and transportation of hazardous waste materials and be well-versed with the requirements of applicable Federal, State and local agencies.

5.	Contractor shall provide a telephone number where they can be contacted on a 24 hour 7 day a week basis.

      - Contractor shall take action at the Cleanup Site to contain the spill and categorize the spilled material if this has not already been performed by the County.  Spilled materials shall then be packaged, manifested, and transported from the spill site to a secure site or, if deemed hazardous by the Contractor, to a hazardous disposal site as required by Federal, State, and local regulations.

b.	Contractor shall obtain all required permits (including any Extremely Hazardous Substances permit not already applied for and/or obtained by the County) and service notices, arrange for inspections, and pay all fees and deposits.  Work shall strictly comply with all applicable laws, rules, regulations, and ordinances

6.	Transportation and Disposal

      - Contractor’s vehicles shall be properly licensed and certified for hauling hazardous waste as required by State, Federal, and local regulations.  All required licenses and certificates shall be in the vehicle any time the vehicle is in the process of transporting waste for the County.

      - Contractor shall maintain, in current status, all required licenses and certificates for all types of hazardous waste handling, transporting and disposal.

      - Emergency response vehicles shall be fully equipped to respond within two hours of a call by County, on a 24/7 basis, with the appropriate personnel trained in the use of various tools and equipment necessary to address problems reasonably expected in an emergency spill or dumping situation and to identify, categorize, contain, cleanup, and properly dispose of a wide variety of hazardous materials that may be found on County maintained property such as roads and flood control channels.  Such equipment includes, but is not limited to:  a confined space entry extraction device, an LEL/02 meter, various typical air, water and solids testing devices, various booms, pads, absorbents, standard transportation and disposal containers, a standard tool kit including a variety of wrenches, screwdrivers and hammers, and a supply of personal protective equipment.

      - Non-emergency vehicles shall be properly equipped to remove and deliver one or more 55 gallon drums or extract liquid from underground storage tanks, as required.

      - All vehicles used to transport County wastes shall be enclosed completely either by a box truck or an approved method such as a tarp or by any other means that meets compliance with current Federal, State and local regulations.

      - Contractor’s vehicles used in the performance of services for the County shall be equipped with spill clean-up equipment and spill prevention equipment, (e.g. bung wrenches).  Vehicles shall be properly equipped for the type of road and weather conditions that can be expected along the transport routes.

      - Trucks loaded with hazardous waste from County facilities shall at no time be left unattended.

      - Contractor shall take all measures and precautions necessary to avoid spillage of hazardous waste during handling, transport, and disposal operations.

      - Any spillage occurring during handling and/or transport shall be the responsibility of the Contractor.

        - Contractor shall notify County immediately, and in writing, of any spills of County generated waste materials within one hour of such occurrence.  Notification shall also be made in writing within one hour of occurrence to the facility or facilities that requested the service, and to appropriate local emergency services.

        - At Contractor’s sole expense, all spills resulting from Contractor’s activities shall be promptly cleaned up in accordance with all State, Federal, and local laws and regulations.

      - Contractor shall submit, verbally, its plan to the PWA Director or designee for disposal of all waste prior to its disposal.

      - All hazardous materials shall be disposed of within 45 calendar days of pick-up and the County shall be provided with manifests received from the disposal site verifying such disposal before payment for disposal will be authorized.

      - Whenever possible, the County shall provide the Contractor with chemical or physical analyses of hazardous waste as required by the disposal facilities.  If the County has not provided the Contractor with the necessary information, Contractor shall have the analysis performed by a qualified representative and invoice the County for the services not to exceed the rates quoted in Contractor’s response to this RFQ.

      - Contractor’s premises and facilities shall be available for inspection by the County or its authorized representatives during normal business hours upon request and outside of normal business hours by providing 24 hours of notification.

      - Contractor shall combine like wastes and segregate recyclable wastes prior to packaging for disposal.

      - Containers for hazardous waste shall be placed in an area that is properly noticed and barricaded until such time as said waste is ready for transport to the processing site.  Stored hazardous waste containers shall not exceed a maximum of two days in storage area.