# COUNTY OF ALAMEDA

# ADDENDUM No. 2

# to

RFP No. 902593

### for

GENERATOR MAINTENANCE, REPAIRS, AND SERVICES

This RFP Addendum has been electronically issued to potential bidders via e-mail. E-mail addresses used are those in the County’s Small Local Emerging Business (SLEB) Vendor Database or from other sources. If you have registered or are certified as a SLEB, please ensure that the complete and accurate e-mail address is noted and kept updated in the SLEB Vendor Database. This RFP Addendum will also be posted on the GSA Contracting Opportunities website located at Alameda County Current Contracting Opportunities.

Alameda County is committed to reducing environmental impacts across our entire supply chain.

If printing this document, please print only what you need, print double-sided, and use recycled-content paper.

The following Section has been modified or revised as shown below.  Changes made to the original RFP document are in bold print and highlighted, and deletions made have a strike through.

Page 7 of the RFP, Section D (SPECIFIC REQUIREMENTS), Item 4, is revised as follows:

List and types of Generators:

| LOCATION | MAKE | CAT/MODEL # | Serial | kW Rating | Voltage | Access |
| --- | --- | --- | --- | --- | --- | --- |
| 661 Washington St. Oakland #1 | Cummins | KTA2300G | 33101790 | 750 | 480 | 661 Washington Street Loading Dock |
| 661 Washington St. Oakland #2 | Cummins | KTA2300G | 33101791 | 750 | 480 | 661 Washington Street Loading Dock |
| 1106 Madison St. Oakland | Cummins/Onan | DGFB-3368654 | C990881424 | 175 | 120-480 | Loading dock on 11th Street |
| 1111 Jackson St. Oakland (Rooftop) | Cummins/Onan | DFEK-4494277 | B010206525 | 500 | 139-480 | Driveway on 11th Street |
| 1131 Harbor Bay Pkwy. Alameda | Generac | SD10KW | 3001536059 | 10 | 208 | Parking Lot near the generator |
| 1221 Oak St. Oakland | Cummins/Onan | DQCB-5734158 | K050858246 | 750 | 220-480 | Corner of 12th Street and Madison Street |
| 1225 Fallon St. Oakland | Consolidated Diesel Electric Corp. | N1042 | 3665 | 15 | 120-208 | Corner of 13th Street and Fallon Street |
| 1401 Lakeside Dr. Oakland (Rooftop- Natural Gas w/ Propane back-up) | Generac | SG0130KG269.0T18HPLYE | 3006850840 | 130 | 277-480 | 14th Street |
| 2100 E. 7th St. Oakland | Gillette | SPJD-300-1-1 | N/A | 30 | 120/240 | Behind the building near the generator |
| 7195 Oakport St. Oakland | Onan | DFHD 4483313 | 1000146265 | 1000 | 480 | Fenced area next to the generator. |