# COUNTY OF ALAMEDA

# Questions & Answers

# to

RFP No. 902602

### for

BOILER MAINTENANCE, REPAIRS, AND SERVICES

Networking/Bidders Conference Held on April 1, 2025

This County of Alameda, General Services Agency (GSA), RFP Questions & Answers (Q&A) has been electronically issued to potential bidders via email. Email addresses used are those in the County’s Small Local Emerging Business (SLEB) Vendor Database or other sources. If you have registered or are certified as a SLEB, please ensure that the complete and accurate email address is noted and kept updated in the SLEB Vendor Database. This RFP Q&A will also be posted on the GSA Contracting Opportunities website located at Alameda County Current Contracting Opportunities.

Alameda County is committed to reducing environmental impacts across our entire supply chain. If printing this document, please print only what you need, print double-sided, and use recycled-content paper.

Thank you for your participation and interest in the County of Alameda RFP No. 902602 – Boiler Maintenance, Repairs, and Services.

All the questions are taken verbatim from written questions received via email. The County of Alameda shall be noted as “County” in the answers to these questions. The Q&A is the final stance of the County. Please consider this document in preparation for your bid response.

Clarification Statement:

- THE BIDDERS MUST USE THE REVISED EXCEL BID FORMS WHEN SUBMITTING BID RESPONSE

Questions and Answers:

- Boiler systems are pressured for the city. Please clarify the Hydro Test requirement.

  - Contractors are required to follow hydro testing protocols and procedures per industry standard. The County does not dictate hydro testing specifics. https://www.asme.org/

- Please provide the Serial Number of all the boilers.

  - Please refer to Addendum No. 1, Attachment A, for the Serial Number and data plate information.

- Raypak Model# E82ST and 48X are not valid model numbers. Please provide more information and better Model#. Are there any data plate pictures and previous service report reference you can provide?

  - Please refer to Addendum No. 1, Attachment A for data plate pictures.

- United States Radiator Corporation Model# 0282 is showing up as an automobile radiator and not a boiler. Is this the correct part/model number? If not, please provide more information. Are there any pictures and any previous inspection reference you can provide?

  - Please refer to Addendum No. 1, Attachment A for data plate pictures.

- Raypack H3-1083 – is this Natural Gas or Propane?

  - Natural Gas.

- Please confirm quote to be based on one annual visit per unit.

  - Yes, it is one annual boiler maintenance per unit.

- When repairs are needed, what is the process to submit the repair quotes, approval and implementation?

  - Please refer to page 8 of the RFP, Section D. Specific Requirements, Item P. (24).

(24) Provide a written condition report and proposals that include findings and recommendations for any needed repairs.  The County will review the service reports and the proposal and determine whether repair is needed.

Please refer to Addendum No. 1.

- Can I visit each site to get the required information for bidding? If so, when? If not, could you please  provide serial numbers for each unit?

  - The County will not conduct a site visit to each site. Please refer to Addendum No. 1 and Attachment A for the serial numbers for each unit.

- For scheduling purposes, when performing the Annual PM services, is there a strict schedule in which the county wants this completed? Can we send technicians out to take care of each location all within one month, or do we need to separate them into different months over the course of a year?

  - The County generally prefers to complete all Annual PM services during the months of July and August. Please refer to Addendum No. 1.

- Does my quote need to include money for emergency call services or any services needed outside of the Annual PM work or will that be allowed to be quoted separately as unforeseen issues arise?

  - TABLE B - Troubleshooting and Repair Labor Rates in the County-provided Excel Bid Form is the hourly rates to account for unforeseen issues. Please also refer to Q7/A7.

- I didn't see it on the list but I would like to double check. Will any monthly monitoring be expected to be included? This would be to hook up a combustion analyzer to each unit to make sure the burner is running within compliance. It would obviously require more visits.

  - No, there will not be any monthly monitoring expectations.

Please refer to page 7 of the RFP, Section D. Specific Requirements, Item p. (11).

The Contractor will perform an annual combustion analysis and tune the boiler as needed to comply with the BAAQMD requirements. Submit printout to Alameda County GSA-BMD.

RFP No. 902602 – BOILER MAINTENANCE, REPAIRS, AND SERVICES

This Vendor Bid List is being provided for informational purposes to assist bidders in contacting other businesses as needed to develop local small and emerging business subcontracting relationships to meet the Small Local Emerging Business (SLEB) Program requirement.

This Q&A is being issued to all vendors on the Vendor Bid List; the following revised vendor bid list includes contact information for each vendor attendee at the Networking/Bidders Conferences.

| RFP No. 902602 - Boiler Maintenance, Repairs, and Services |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Business Name | Contact Name | Contact Phone | Address | City | St. | Email |
| R.F. MacDonald Co. | John Madruga | (510) 774-4212 | 25920 Eden Landing Rd. | Hayward | CA | john.madruga@rfmacdonald.com |
| Bay City Boiler & Engineering Company, Inc. | Jon Bruland | (510) 786-3711 | 23312 Cabot Blvd. | Hayward | CA | jbruland@baycityboiler.com |
| L J Kruse Co | Will Kruse | (510) 549-5312 | 920 Pardee St | Berkeley | CA | will@ljkruse.com |
| Cornely Company |  | (415) 252-1800 | 65 Dorman Ave. | San Francisco | CA | bjcornely@yahoo.com |
| A & B Mechanical, Inc. | Greg Byrkit | (510) 264-5800 | 2252 Railroad Ave | Livermore | CA | gbyrkit@abmechanical.com |
| AAAA Generator Services, Inc. | Michael Chiasson | (888) 664-2436 | 1174 Russell Way | Hayward | CA | michael@AAAAGen.com |
| American Power Services Co. | Jim Brahney | (510) 636-0280 | 8538 Blaine Street | Oakland | CA | powerglider@msn.com |
| Bay Equipment & Repair | Sam Portillo | (510) 783-9050 | 3393 Enterprise Ave | Hayward | CA | sam@cabear.com |
| Brian R Roberts | Brian Roberts | (925) 846-2035 | 2130 Camino Brazos | Pleasanton | CA | badbrindie@att.net |
| Cal West Commercial Appliance and Refrigeration HVAC Service, Inc. DBA Cal West Service, Inc. | Juan Martinez | (925) 551-6400 | 6401 Golden Gate Drive | Dublin | CA | jmartinez@calwestservice.com |
| California Generator Service | Tom Auer | (866) 643-6738 | 7723 Oakport Street | Oakland | CA | tauer@cageneratorservice.com |
| Comfort Air Mechanical Systems, Inc. | Ruby Chen | (510) 881-6495 | 1742 Clement St | Alameda | CA | rob@cams-sf.com |
| Compactor Management Company, LLC | Sandra Garcia | (510) 623-2323 | 32420 Central Ave | Union City | CA | sgarcia@compactormc.com |
| Creative Iron | Rajeev Narang | (510) 532-2200 | 926 High St | Oakland | CA | rnarang@sbcglobal.net |
| Diamond Diesel Svc Inc | Terry Moore | (510) 532-8500 | 2550 E 12th St | Oakland | CA | terry@DiamondDiesel.com |
| Doc Bailey Construction Equipment, Inc. | Lisa Chu | (510) 638-6243 | 2584 Grant Ave | San Lorenzo | CA | lisa.c@docbaileycranes.com |
| Engine Systems Integration LLC | Neil Holmgren | (510) 427-2975 | 2900 Main Street, Bldg. 137, Suite 105 | Alameda | CA | neil@enginesi.com |
| Foothill Vacuum Cleaner Center | Jesus Salazar | (510) 534-1000 | 3222 Fruitvale Blvd | Oakland | CA | foothillvacuumrepair@gmail.com |
| McGuire and Hester | Mabel Cater-McClanahan | (510) 632-7676 | 9009 Railroad Avenue | Oakland | CA | estimating@mcguireandhester.com |
| new haven moving equipment, in | mark bara | (800) 624-7950 | 1501F doolittle drive | San Leandro | CA | markbara@newhaven-usa.com |
| Pacific Coast Sales & Service | Michael Wood | (510) 433-8940 | 420 3rd Street, Suite 103 | Oakland | CA | mjwood@trane.com |
| RAM Rick Albert Machinery Inc | Rick Albert | (510) 504-5086 | 4122 Nevis Street | Pleasanton | CA | r_albert@sbcglobal.net |
| Rex Key & Security | Joe Towbis | (510) 234-6363 | 1908 University Ave | Berkeley | CA | joet@rexkey.com |
| Star Microwave Service Corporation | Luz Beas | (510) 498-7900 | 43250 Christy St. | Fremont | CA | mbeas@starmicrowave.com |
| True Blue Automation Services | Berk Gurkan | (925) 808-7331 | 3987 First Street, Suite L | Livermore | CA | sales@tbautomationservices.com |
| VAZTEC FLOORING | Victor Vazquez | (925) 858-3511 | 1122 Hillcrest Ct. | Livermore | CA | vaztecflooring@gmail.com |
| West Coast Compressor | Stanalee Harden | (925) 464-1640 | 4555 Las Positas Rd. Ste. B | Livermore | CA | stanalee@wccompressor.com |
| A&B Plumbing & Backflow | Cathy Branco | (510) 792-0197 | 39270 Paseo Padre Parkway #302 | Fremont | CA | cbackflow@aol.com |
| ACT General Building Construction Inc | Miguel Tolmo | (510) 532-3957 | 3906 Allendale Ave | Oakland | CA | act@act4construction.com |
| Alaska Refrigeration Air Cond | Allison Siegel | (510) 269-9346 | 1651 27th Ave | Oakland | CA | info@alaskahvacr.com |
| Allied Fire Protection | Scott Judy | (510) 533-5516 | 555 High Street | Oakland | CA | sjudy@alliedfire.com |
| Alta Group, Inc. | Glenele Oberrich | (510) 388-3582 | 4643 Fair Avenue | Oakland | CA | Glenele@AltaCMGC.com |
| Amcor Construction | Kapal Singh | (510) 331-5761 | 140 Blossom Way | Hayward | CA | KAPAL31@YAHOO.COM |
| American Air Conditioning Plumbing & Heating | Reed Heathorn | (510) 351-7578 | 2799 Miller Street | San Leandro | CA | reed@aacph.com |
| American Residential Services | Christopher H. Peterson | (510) 729-6007 | 1618 Doolittle Dr | San Leandro | CA | cpeterson@ars.com |
| B&B Mechanical Services, Inc | Brian Schloffel | (925) 931-0562 | 1040 Serpentine Lane Suite 202 | Pleasanton | CA | brian@bbmsi.com |
| Bay City Boiler & Engineering Company, Inc. | Pete Ellery | (510) 786-3711 | 23312 Cabot Blvd. | Hayward | CA | pellery@baycityboiler.com |
| Berkeley Plumbing Co | Walter Wind | (510) 841-0883 | 2160 Dwight Way | Berkeley | CA | wally@berkeleyplumbing.com |
| Black Creek Builders, Inc. | Travis Wirt | (800) 737-7113 | 2927 Market Street | Oakland | CA | info@blackcreekbuilders.com |
| Bradford Air & Heating | Wester Bradford | (925) 455-4247 | 7674 Las Positas Rd | Livermore | CA | jay@bradfordairandheating.com |
| Brasso's Plumbing, Inc | Nikki Lopez | (925) 373-9189 | 6601 Brisa Street, Suite A | Livermore | CA | nikki@brassosplumbing.com |
| Broadway Mechanical-Contractors, Inc. | Jill Demar | (510) 746-4000 | 873 81st Ave. | Oakland | CA | jdemar@broadwaymechanical.com |
| Brothers Energy | Jonathan Armerding | (925) 787-7480 | 11576 Manzanita lane | Dublin | CA | jon@brothersenergy.com |
| Brown 3 Plumbing Company | William Brown | (510) 562-5847 | 9421 D Street | Oakland | CA | brown3plumbing@sbcglobal.net |
| C.B. Home Improvements | Clifford Bullock | (510) 755-1653 | 3440 Chaplet St | San Leandro | CA | cbhomeimprovements@gmail.com |
| Cal Coast Plumbing Co | Allen Eddy | (925) 462-1090 | 5757 Sonoma Dr., Suite B | Pleasanton | CA | 2-aces@msn.com |
| Chris' Plumbing, Inc. | Chris Kujat | (510) 346-8402 | 1336 West Winton | Hayward | CA | ckujat@chrisplumbing.com |
| Clogbusters Plumbing, Inc. | Wilber Kigundu | (866) 644-2878 | 1520 B Alcatraz Ave Berkeley, Ca | Berkeley | CA | wilber@clogbustersplumbing.com |
| Cold Room Solutions, Inc. | Brad Bidwell | (925) 462-2500 | 1040 Serpentine Ln, Ste 207 | Pleasanton | CA | brad@coldroomsolutions.com |
| Comerford's Service Experts | Troy Thomas | (925) 243-6320 | 201 Rickenbacker Circle | Livermore | CA | Troy.Thomas@ServiceExperts.com |
| Comfort Dynamics, Inc. | Vickie Salazar | (510) 352-8501 | 823 Estabrook Street | San Leandro | CA | vsalazar@comfortdynamics.com |
| Control Air North, Inc. | Darrell Griffith | (510) 441-1800 | 30655 San Clemente Street | Hayward | CA | dgriffith@canorth.com |
| Cull Plumbing | Candace White | (925) 447-7665 | 9405 Tesla Rd | Livermore | CA | cullplumbing@gmail.com |
| D P Heating | Daryl Price Price | (510) 532-2043 | P.O.Box 19102 | Oakland | CA | dpheatingandair@sbcglobal.net |
| Diablo Plumbing Inc | Stacy Ontiveros | (925) 463-7900 | 7074CommerceCr #D | Pleasanton | CA | stacy@diabloplumbing.com |
| Fire Pro. Specialists Inc | Ed Looney | (925) 846-4448 | 5729 Sonoma Dr # C | Pleasanton | CA | edlooney@fireprotectionspecialists .net |
| Flanders Heat & Air Systems, Inc. | Bret Flanders | (925) 461-3333 | 555 Peters Avenue, Suite 255 | Pleasanton | CA | flandersairhvac@gmail.com |
| Freitas Plumbing | Gabriel Freitas | (510) 651-5140 | 39951 Besco Drive | Fremont | CA | freitasplumbing@att.net |
| GC Raymond, Inc. | Eric Halverson | (510) 504-1815 | 25653 Soto Road | Hayward | CA | gcraymond18@gmail.com |
| General Plumbing Supply Co | Axel Hernandez | (800) 443-0744 | 11 Rickenbacker Cir | Livermore | CA | axel.hernandez@genpl.com |
| Golden Coast Plumbing And Rooter, Inc. | Joel Cruz Martinez | (510) 467-9525 | 2851 E 9th Street A | Oakland | CA | goldencoastplumbing@gmail.com |
| Graysix Co | Robert Gray | (510) 845-5936 | 2427 4th St | Berkeley | CA | graysix@aol.com |
| HD EZ-AIR, INC. | Eujenia Hernandez | (510) 695-0744 | 1242 Calhoun Street | Hayward | CA | hdez.air@gmail.com |
| Icenogle Construction Mgmt Inc | Maria Icenogle | (510) 581-5465 | 27467 Dobbel Ave Hayward CA | Hayward | CA | maria@icenoglecm.com |
| Integrity Air Systems Corporation | Susan Siegert | (510) 293-9900 | 3466 Arden Road | Hayward | CA | admin@team-integrity.net |
| J R Pierce Plumbing Co | Richard Pierce | (510) 483-5473 | 14481 Wicks Blvd | San Leandro | CA | richard@jrpierceplumbing.com |
| J Toscano Incorporated DBA Paul's Plumbing | Jesus Toscano | (510) 652-4947 | 999 42nd Street | Oakland | CA | jesus@paulsplumbing.com |
| Johnson Controls, Inc. | Nghiem Nguyen | (510) 770-7869 | 21270 Cabot Blvd | Hayward | CA | nghiem.t.nguyen@jci.com |
| Kinetics Mechanical Service, Inc. | Minh Le | (925) 245-6200 | 6336 Patterson Pass Rd., Suite H | Livermore | CA | mle@kms-inc.com |
| Livermore Mechanical Inc | Mark Chartier | (510) 299-4276 | 5102 Bianca Way | Livermore | CA | mark@livermoremechanical.com |
| Marina Mechanical Services | Sheri Learmonth | (510) 614-3500 | 4763 Bennett Drive | Livermore | CA | slearmonth@marinam.com |
| Model Plumbing | Clinton Onderbeke | (925) 487-9361 | 508 Burger Court | Pleasanton | CA | cdo59@sbcglobal.net |
| Monterey Mechanical Co | Paraiso Debra | (510) 636-4382 | 8275 San Leandro St | Oakland | CA | d.paraiso@montmech.com |
| Mr. Rooter Plumbing | Steve Ferguson | (510) 843-6378 | 1516 University Ave | Berkeley | CA | sandy@mrrooterberkeley.com |
| Mr. Rooter Plumbing | David Ferguson | (925) 416-0966 | 1516 University Avenue | Pleasanton | CA | dddddf@att.net |
| Murray Company | MIKE DEAN | (510) 962-9459 | 2090 FARALLON DR | San Leandro | CA | MDEAN@MURRAYCOMPANY.COM |
| National Air Balance Company Inc | Jeff Wooning | (510) 623-7000 | 4171 Business Center Drive | Fremont | CA | JeffW@nabco.biz |
| Nor-Cal Fire Protection | Matt Cetani | (408) 776-1580 | 48231 Turqoise St | Fremont | CA | matt@norcalfire.com |
| Northern Services, Inc. | Andrew Osborn | (800) 594-9205 | 1709 International Blvd, Suite 204 | Oakland | CA | andrew@northernserviceinc.com |
| Olsson Plumbing Company | Ronald Vincent | (510) 522-2442 | 2425 Clement Ave Ste A | Alameda | CA | olssonco@aol.com |
| Performance Plus Plumbing Inc. | Sylvia Cromwell | (925) 455-1777 | 12200 Tesla Rd. | Livermore | CA | scr411@yahoo.com |
| Plumbing Squad | Muhammad Durrani | (510) 943-2618 | 4503 Ariel Ave | Fremont | CA | plumbingsquad@gmail.com |
| Plumbing Worxz | Don Bartelmie | (510) 796-8770 | 3602 Thornton Ave. #18 | Fremont | CA | plumbingworxz@gmail.com |
| Potter Fire Protection Inc | Susan J. Potter | (510) 581-3473 | 22156 Meekland Avenue | Hayward | CA | sue@potterfire.com |
| Prime Heating & Air Conditioning | Alexander McKoy | (510) 914-7201 | 634 Oakland Avenue, #7 | Oakland | CA | primehvac@hotmail.com |
| Prime Mechanical Service Inc | John Eshelman | (877) 635-4328 | 296 Wright Brothers Ave | Livermore | CA | john@primemechanicalservice.com |
| Pro Rooter Inc | Jin Oh | (510) 670-1115 | 438 San Leandro Blvd | San Leandro | CA | prorooter94577@yahoo.com |
| Pro-Active HVAC | Hayward Calhoun Jr | (510) 693-6943 | 1241 54th Street Apt B | Emeryville | CA | hvaccalhoun@gmail.com |
| Pyramid Balancing Associates | Dan Moore | (510) 337-1244 | 2515 Santa Clara Ave., Ste. 209 | Alameda | CA | dan_moore@pyramidbalancing.com |
| Pyramids Heating & Air Inc | Ahmed Ahmed | (510) 836-6977 | 2300 Market St | Oakland | CA | aahmed3876@aol.com |
| Reva Murphy Associates, Inc. | Reva L. Murphy | (510) 638-7420 | 8055 Collins Drive, Suite 202 | Oakland | CA | reva@revamurphyassociates.com |
| Roeber's Inc Plumbing & Htg | John Roeber | (510) 537-0556 | 2516 San Carlos Ave | Castro Valley | CA | jcr@roebers.com |
| Rogers Plumbing | Charles Rogers | (510) 382-0909 | 8802 Seneca Street | Oakland | CA | charlesrogers0550@sbcglobal.net |
| SB Systems EnvironmentSolution | Jeff Stevens | (510) 715-2159 | PO Box 2392 | Castro Valley | CA | jks@aol.com |
| Sea Pac Engineering Inc | John Lee | (510) 748-9703 | 1151 Harbor Bay Parkway #206 G | Alameda | CA | jlee@seapaceng.com |
| Showtime Construction | Ronald Puckett | (510) 478-6229 | 300 Frank Ogawa Plaza #251 | Oakland | CA | showtimeconstruction@yahoo.com |
| Siemens Building Technologies | Denise Moore | (510) 783-6000 | 2525 Barrington Ct. | Hayward | CA | denise.moore@siemens.com |
| Sunbelt Controls | Zachary Brooksher | (925) 448-5109 | 4511 Willow Road, Suite 4 | Pleasanton | CA | zbrooksher@sunbeltcontrols.com |
| Superior Mechanical Services Inc | Jerry Williams | (925) 456-3200 | 347 Wright Brothers Ave | Livermore | CA | jerry.williams@superiormsi.com |
| TEDCO, Inc. | JENNIFER HUNT | (925) 373-1001 | 6736 Preston Ave., Suite A | Livermore | CA | sales@tedcosheetmetal.com |
| Thermoscape Air Cond & Heating | John Teresi | (510) 445-0700 | 4450 Enterprise Street, Suite #110 | Fremont | CA | john@thermoscape.com |
| Three Alarm Fire Protection | Lemmons Thomas | (925) 449-3200 | 527 Waxlax Way | Livermore | CA | sales@3alarmfp.com |
| Van-mulder Sheet Metal Inc | Paul Steckel | (510) 569-9123 | 2437 Radley Court | Hayward | CA | psteckel@vanmulder.com |
| Veritable Plumbing | Jesus Vergara | (510) 336-1242 | 21573 Foothill Blvd Suite 213 | Hayward | CA | veritableplumbing@yahoo.com |
| Walker's Plumbing Services | Manuel Walker | (510) 451-3900 | 610 16th St., Suite 212 | Oakland | CA | walkers_plumbing@yahoo.com |
| Wes-co Industries | Marko Zivanovic | (510) 534-3320 | 910 23rd Ave | Oakland | CA | marko@wescoindustries.com |
| Westates Mechanical Corporation | Nigel Cowan | (510) 635-9830 | 2566 Barrington Court | Hayward | CA | ncowan@westatesmechanical.com |
| Amtec Industries Inc | Rick Altomare | (510) 887-2289 | 2501 Industrial Pkwy W | Hayward | CA | rickaltomare@amtec1.com |
| Rki Instruments Inc | Mike Johnson | (510) 441-5656 | 1855 Whipple Rd | Hayward | CA | mike@rkiinstruments.com |
| California Builder Distributors Inc | Sharon Dixon | (925) 373-2472 | 5730-B Brisa Street | Livermore | CA | SDixon@CBDAppliance.com |
| Christa Scarlott Sales | Christa Scarlott | (925) 426-1323 | 1 Verona Road | Pleasanton | CA | christascarlott@comcast.net |
| Emperor Supply, Inc. | Andrew Boydon | (510) 251-1234 | 119 10th Street | Oakland | CA | andrewb@emperorelectrical.com |
| Frank A. Olsen Company | Dennis Winslow | (925) 961-8888 | 286 Rickenbacker Circle | Livermore | CA | dennis.winslow@frankaolsen.com |
| George Withers, Tifco Ind. | George Withers | (925) 989-5590 | 4180 Jensen St. | Pleasanton | CA | GEWithers@aol.com |
| Intraline, Inc | Pete Varma | (510) 780-9800 | 8100 Capwell | Oakland | CA | pvarma@intralineinc.com |
| N V Moran Plumbing Supply Inc | Matthew Moran | (510) 652-7437 | 415 40th Street | Oakland | CA | sales@moransupply.com |
| Pace Supply Corp | Marty Outlaw | (510) 318-6900 | 425 Market Street | Oakland | CA | moutlaw@pacesupply.com |
| Red Dipper, LLC. | Doug Parrish | (510) 746-6041 | 701 Mountain Blvd | Oakland | CA | doug@reddipper.com |
| Rubenstein Supply Company | Shima Saremi | (510) 844-6204 | 2800 San Pablo Ave | Oakland | CA | ssaremi@rubensteinsupply.com |
| Appliance Parts Distr | Mike Defazio | (510) 357-8200 | 16200 E 14th St | San Leandro | CA | mike@apdappliance.com |
| Diamond Diesel Service Inc. | Robert Park | 510/532-8500 | 2550 E 12th Street | Oakland | CA | robert@diamonddiesel.com |
| The Currid Family Corporation | Daniel Currid | 510/568-5000 | 1997 Burroughs Ave | San Leandro | CA | dcurrid@pirteksanleandro.com |
| D & D Compressor Service, Inc. | Robert Ardourel | 408/947-0491 | 347 Commercial Street | San Jose | CA | robert@danddcompressor.com |
| Legacy Brothers Inc | Ray Loftis | 336/264-3882 | 407 N Peterson Ave | Douglas | GA | ray.legacybrothers@gmail.com |
| Cal West Service, Inc | Heather Mora | 925/551-6400 | 6401 Golden Gate Dr | Dublin | CA | heatherm@calwestservice.com |
| willoughbyGeorge | George willoughby | 510/200-1686 | 430 49th | Oakland | CA | bh59500@Gmail.com |
| Heathorn & Associates Contractors, inc | Reed Heathorn | 510/351-7578 | 2799 Miller Street | San Leandro | CA | reedh@aacph.com |
| Dormatech Mechanical Systems, Inc. | Dorothy Natividad | 707.653.4344 | 55 Springstowne Ctr #217 | Vallejo | CA | dorothy@dormatechinc.com |
| Agbayani Construction Corporation | Mariejo Gooden | 650/994-9380 | 88 Dixon Court | Daly City | CA | mariejo.gooden@agbayani.com |
| Ogreena | Christopher Shields | 510/899-0238 | 5600 Martin Luther King Jr. Way #102 | Oakland | CA | office@ogreena.com |
| Golden State HVAC | Lex Madden | 408/655-0609 | 20780 FOURTH ST, unit 10 | Saratoga | CA | lex.calductcleaning@gmail.com |
| American Chiller Service, Inc. | Stacey Wallace | 510/686-1111 | 743 Thornton Street | San Leandro | CA | stacey@americanchiller.com |
| Battalion One Fire Protection | Alia Jackson | 510/653-8075 | 14755 Catalina Street | San Leandro | CA | ajackson@battaliononefire.com |
| Agbayani Construction Corporation | Jocelyn Bautista | 650/994-9380 | 88 Dixon Court | Daly City | CA | jocelyn.bautista@agbayani.com |
| Envirosupply & Service Inc. | TIFFANY SHEA | 916/364-5512 | 1791 KAISER AVE | Irvine | CA | sacramento@envirosupply.net |